## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295005AK2.03) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 3.5 | K2 | 295005
2 | (295025EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Safety/relief valves | 4.4 | A1 | 295025
3 | (295023AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Ventilation isolation | 3.7 | K3 | 295023
4 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 600000
5 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.7 | A2 | 295018
6 | (295001AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Natural circulation | 3.7 | K1 | 295001
7 | (295027EK2.06) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 2.7 | K2 | 295027
8 | (295004AA1.04) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) DC electrical loads | 3.7 | A1 | 295004
9 | (295038EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.1 | K3 | 295038
10 | (295006) (APE 6) SCRAM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 295006
11 | (295037EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295037
12 | (295003AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Battery capacity | 3.8 | K1 | 295003
13 | (295030EK2.05) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) HPCS | 3.8 | K2 | 295030
14 | (700000AA1.04) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Reactor controls | 3.6 | A1 | 700000
15 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
16 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 295031
17 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.4 | A2 | 295021
18 | (295026EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool level | 3.5 | K1 | 295026
19 | (295016AK2.11) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 2.7 | K2 | 295016
20 | (295024EA1.17) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Containment spray | 4.3 | A1 | 295024
21 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 295010
22 | (295036EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Water level in the affected area | 3.5 | A2 | 295036
23 | (295020AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.8 to 41.10) Loss of normal heat sink | 4.1 | K1 | 295020
24 | (295007AK2.01) Knowledge of the relationship between the (APE 7) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 4 | K2 | 295007
25 | (295033EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) Systems required for adequate core cooling | 4.2 | A1 | 295033
26 | (295017AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.5 / 45.6) System isolations | 4 | K3 | 295017
27 | (262002A2.05) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of UPS | 3.8 | A2 | 262002
28 | (215004A4.01) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS count rate and period | 4.1 | A4 | 215004
29 | (218000K4.02) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Allow manual initiation of ADS logic | 4.1 | K4 | 218000
30 | (261000K3.03) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Primary containment pressure (Mark I and II) | 3.7 | K3 | 261000
31 | (217000K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Reactor pressure control | 3.7 | K5 | 217000
32 | (263000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Lights and alarms | 3.3 | A1 | 263000
33 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
34 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 239002
35 | (211000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.6 | K1 | 211000
36 | (203000K6.17) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) Suppression pool suction strainer clogging | 3.4 | K6 | 203000
37 | (209002A3.02) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump start | 4.1 | A3 | 209002
38 | (215003A2.05) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/system | 3.6 | A2 | 215003
39 | (205000A4.01) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) SDC/RHR pumps | 3.9 | A4 | 205000
40 | (223002K4.06) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Once initiated, system reset requires deliberate operator action | 3.8 | K4 | 223002
41 | (259002K3.04) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Recirculation system | 3.3 | K3 | 259002
42 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
43 | (215005A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Lights and alarms | 3.8 | A1 | 215005
44 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
45 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291005K1.05) MOTORS AND GENERATORS (CFR: 41.7) Explain the difference between starting current and operating (running) current in a motor | 2.7 | C | 400000
46 | (264000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 3 | K1 | 264000
47 | (212000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.5 | K6 | 212000
48 | (510000A3.04) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Strainer operation | 2.8 | A3 | 510000
49 | (262002A2.01) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal voltage | 3.2 | A2 | 262002
50 | (215004A4.08) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS channel bypass | 3.4 | A4 | 215004
51 | (218000K4.03) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) ADS logic control | 4.2 | K4 | 218000
52 | (261000K3.06) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Primary containment oxygen content (Mark I and II) | 3 | K3 | 261000
53 | (272000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.7) DC power | 3 | K6 | 272000
54 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
55 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.2 | A2 | 510001
56 | (245000A4.12) Ability to manually operate and/or monitor the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS in the control room: (CFR: 41.7 / 45.5 to 45.8) Voltage regulator | 3.3 | A4 | 245000
57 | (201005K4.08) Knowledge of (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) design features and/or interlocks that provide for the following: (CFR: 41.5 to 41.7) RACS | 3.5 | K4 | 201005
58 | (216000K3.10) Knowledge of the effect that a loss or malfunction of the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation flow control system | 3.4 | K3 | 216000
59 | (233000K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP: (CFR: 41.5 / 45.3) Abnormal fuel pool temperatures | 3.5 | K5 | 233000
60 | (256000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 CDS) CONDENSATE SYSTEM including: (CFR: 41.5 / 45.5) System flow | 3.6 | A1 | 256000
61 | (202001K2.02) (SF1, SF4 RS) RECIRCULATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) MG sets | 3.5 | K2 | 202001
62 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 204000
63 | (230000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 2.6 | K1 | 230000
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1) Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in moderator temperature and core age | 2.6 | R | 292004
72 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
73 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
74 | (293006K1.14) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Explain the results of putting centrifugal pumps in parallel or series combinations | 2.7 | T | 293006
75 | (293007K1.02) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Describe thermal conductivity | 2.6 | T | 293007
76 | (295005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295005
77 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295025
78 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.2 | A2 | 295023
79 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 600000
80 | (295018AA2.04) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System flow | 3.2 | A2 | 295018
81 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 295001
82 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
83 | (295011AA2.01) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4 | A2 | 295011
84 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295034
85 | (295029EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.3 | A2 | 295029
86 | (217000A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of vacuum pump | 2.7 | A2 | 217000
87 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 263000
88 | (300000A2.02) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Component cooling water system malfunction | 3.2 | A2 | 300000
89 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 239002
90 | (211000A2.01) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 3.8 | A2 | 211000
91 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 286000
92 | (223001A2.09) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Vacuum breaker malfunction | 3.7 | A2 | 223001
93 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 202002
94 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4