## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
2 | (295016AK2.04) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.5 | K2 | 295016
3 | (295003AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Load shedding | 3.8 | K1 | 295003
4 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
5 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295023
6 | (295004AA1.01) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) DC electrical distribution | 3.8 | A1 | 295004
7 | (295031EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Spray cooling | 4.4 | K3 | 295031
8 | (295006AK2.01) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.5 | K2 | 295006
9 | (700000AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Voltage disturbance | 3.5 | K1 | 700000
10 | (295024EA2.10) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Containment temperature (Mark III) | 3.9 | A2 | 295024
11 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295027
12 | (295037EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Reactor/turbine pressure regulating system | 3.7 | A1 | 295037
13 | (295030EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) HPCI shutdown | 4 | K3 | 295030
14 | (295018AK2.05) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.3 | K2 | 295018
15 | (295005AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor level control | 3.8 | K1 | 295005
16 | (295025EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | A2 | 295025
17 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295001
18 | (295038EA1.11) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Main and reheat steam system | 2.9 | A1 | 295038
19 | (295021AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Feeding and bleeding reactor vessel | 3.7 | K3 | 295021
20 | (295026EK2.07) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.8 | K2 | 295026
21 | (295035EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Lights and alarms | 3.7 | A2 | 295035
22 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 295009
23 | (295017AA1.05) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Plant process computer/parameter display systems | 3 | A1 | 295017
24 | (295008AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) Main turbine trip | 4 | K3 | 295008
25 | (295014AK2.14) Knowledge of the relationship between the (APE 14) INADVERTENT REACTIVITY ADDITION and the following systems or components: (CFR: 41.7 / 45.8) HPCS | 3.3 | K2 | 295014
26 | (500000EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Hydrogen ignition/deflagration | 3.8 | K1 | 500000
27 | (223002K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.7 / 45.7) Leak detection system | 3.1 | K6 | 223002
28 | (211000A2.09) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Automatic or manual initiation failure | 4.4 | A2 | 211000
29 | (209002A3.07) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Emergency diesel generator operation | 4.1 | A3 | 209002
30 | (212000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 4.1 | K1 | 212000
31 | (215004A4.04) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS drive control switches | 3.5 | A4 | 215004
32 | (264000K2.08) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) Knowledge of electrical power supplies to the following: (CFR: 41.7) Cooling water pumps | 3.3 | K2 | 264000
33 | (300000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.5 / 45.5) Service air pressure | 3.1 | A1 | 300000
34 | (215003K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM system | 3.4 | K3 | 215003
35 | (218000K4.03) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) ADS logic control | 4.2 | K4 | 218000
36 | (215005K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.5 / 45.3) Control rod symmetrical patterns | 3.5 | K5 | 215005
37 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 510000
38 | (262002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) AC electrical distribution | 3.4 | K6 | 262002
39 | (262001A2.05) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Bus grounds /faults | 3.8 | A2 | 262001
40 | (205000A3.01) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Valve operation | 3.7 | A3 | 205000
41 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
42 | (203000A4.06) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset following automatic initiation | 3.6 | A4 | 203000
43 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
44 | (261000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Primary containment oxygen level (Mark I and II) | 3 | A1 | 261000
45 | (259002K3.04) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Recirculation system | 3.3 | K3 | 259002
46 | (239002K4.03) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Prevents siphoning of water into SRV discharge piping and limits loads on subsequent actuation of SRVs | 3.5 | K4 | 239002
47 | (209001K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Heat removal (transfer) mechanisms | 3.2 | K5 | 209001
48 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (291002K1.10) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Theory and operation of pressure detectors (bourdon tubes, diaphragms, bellows, forced balance, variable capacitance, and D/P cell) | 2.5 | C | 217000
49 | (223002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.7 / 45.7) DC electrical distribution | 3.7 | K6 | 223002
50 | (211000A2.01) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 4.2 | A2 | 211000
51 | (209002A3.01) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209002
52 | (212000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Control rod drive hydraulic system | 3.9 | K1 | 212000
53 | (272000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.4) Effect of hydrogen injection operation on process radiation indications | 3.3 | K5 | 272000
54 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 288000
55 | (245000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS: (CFR: 41.7 / 45.7) Electrical distribution | 3.3 | K6 | 245000
56 | (256000A2.11) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of circulating water system | 3.6 | A2 | 256000
57 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
58 | (233000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Residual heat removal system | 3.3 | K1 | 233000
59 | (290002A2.04) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Excessive heatup/cooldown rate | 4.4 | A4 | 290002
60 | (223001K2.05) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES Knowledge of electrical power supplies to the following: (CFR: 41.7) Hydrogen recombiners | 2.9 | K2 | 223001
61 | (215001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.5 / 45.5) Drive speed | 2.5 | A1 | 215001
62 | (241000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.5 | K3 | 241000
63 | (268000K4.01) Knowledge of (SF9 RW) RADWASTE SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic isolation of radiological release isolation valves | 3 | K4 | 268000
64 | (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (292004K1.01) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the moderator temperature coefficient of reactivity | 3.2 | R | 292004
71 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
72 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
73 | (293009K1.06) CORE THERMAL LIMITS (CFR: 41.14) (LHGR) Define LHGR | 3.8 | T | 293009
74 | (293008K1.26) THERMAL HYDRAULICS (CFR: 41.14) (RECIRCULATION SYSTEM) Explain the jet pump operating principle | 3.1 | T | 293008
75 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
76 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 600000
77 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.8 | A2 | 295016
78 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295003
79 | (295019AA1.03) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Air compressors | 3.5 | A2 | 295019
80 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 295023
81 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4.1 | A2 | 295004
82 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295031
83 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295029
84 | (295032EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Equipment operability | 3.5 | A2 | 295032
85 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 295034
86 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 215004
87 | (264000A2.12) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of DC electrical distribution | 4 | A2 | 264000
88 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 300000
89 | (215003A2.05) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/system | 3.2 | A2 | 215003
90 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 218000
91 | (219000A2.06) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) DC electrical failures | 3.5 | A2 | 219000
92 | (239003) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 239003
93 | (201003A2.01) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Stuck rod | 4 | A2 | 201003
94 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4