## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (027AA1.04) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Pressure recovery using emergency-only heaters | 3.5 | A1 | 395009
2 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
3 | (395014) 000055 (EPE 55) Station Blackout (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395014
4 | (058AK2.03) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery | 3.7 | K2 | 395017
5 | (038EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Initiating RCS cooldown | 4.2 | K3 | 395011
6 | (054AA2.08) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Steam flow and/or MFW flow | 3.4 | A2 | 395013
7 | (009EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): SPDS | 3.4 | A1 | 395003
8 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
9 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395023
10 | (011EK2.10) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): CSS | 4 | K2 | 395004
11 | (026AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance actions contained in EOPs for loss of CCW | 3.8 | K3 | 395008
12 | (WE12EA2.03) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): SDM | 4 | A2 | 395012
13 | (022AA1.04) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): Speed demand controller and running indicators (positive displacement pump) | 3.5 | A1 | 395006
14 | (077AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Declining grid frequency or voltage | 3.6 | K1 | 395020
15 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 395001
16 | (062AK2.04) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): Chilled water systems | 3 | K2 | 395018
17 | (025AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Shift to alternate flowpath | 3.8 | K3 | 395007
18 | (057AA2.20) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): The plant automatic actions that will occur on the loss of a vital AC electrical instrument bus | 3.4 | A2 | 395016
19 | (WE03EA1.17) Ability to operate and/or monitor the following as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 to 41.8 / 45.5 to 45.8): CCWS | 3.3 | A1 | 395053
20 | (076AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.8 / 41.10 / 45.3): Radiation source and/or transport pathway | 3.3 | K1 | 395041
21 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 395024
22 | (051AK2.07) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): Steam jet air ejectors and vacuum pumps | 3.3 | K2 | 395033
23 | (060AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implement emergency plan for accidental gaseous radwaste release | 3.8 | K3 | 395035
24 | (WE06EA2.10) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): Reactor vessel level | 3.8 | A2 | 395040
25 | (WE08EA1.19) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): IAS | 2.7 | A1 | 395056
26 | (003AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Effect of a dropped rod on insertion limits and SDM | 3.8 | K1 | 395025
27 | (103A2.03) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment isolation signal | 4.4 | A2 | 400103
28 | (059K5.18) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Power level restrictions for operation of MFW pumps and valves | 3.5 | K5 | 400059
29 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
30 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
31 | (013K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): Inadvertent ESFAS | 3.8 | K6 | 400013
32 | (007K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CNT | 3.5 | K1 | 400007
33 | (005K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM Containment isolation valves | 3.3 | K2 | 400005
34 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
35 | (004K4.08) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Hydrogen control in RCS | 3 | K4 | 400004
36 | (064A3.05) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Frequency and voltage control in parallel operation | 3.8 | A3 | 400064
37 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 400026
38 | (062A2.19) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of Class 1E DC distribution system | 4.1 | A2 | 400062
39 | (022K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Shift in fan speed related to postaccident conditions | 3.6 | K5 | 400022
40 | (012K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.9 | K3 | 400012
41 | (003A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature and pressure | 3.7 | A1 | 400003
42 | (008K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): PRMS | 2.7 | K6 | 400008
43 | (063K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Ground detection system | 2.6 | K1 | 400063
44 | (076K2.09) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Intake screens | 2.6 | K2 | 400076
45 | (006A4.03) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Transfer from BAT to BIT | 3.4 | A4 | 400006
46 | (061K4.03) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic blowdown/sample isolation | 3.2 | K4 | 400061
47 | (010A3.05) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PORV and block valve operation | 3.8 | A3 | 400010
48 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191003K1.07) CONTROLLERS AND POSITIONERS (CFR: 41.7): Safety precautions with respect to the operation of controllers and positioners | 2.6 | C | 400103
49 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
50 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | K5 | 400073
51 | (078K3.12) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): FPS | 2.6 | K3 | 400078
52 | (013A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): Main control room HVAC filtration system status | 3.4 | A1 | 400013
53 | (007K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Leakage collection | 2.8 | K6 | 400007
54 | (005K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CVCS | 3.6 | K1 | 400005
55 | (035A2.04) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Steam flow/feed flow mismatch | 3.8 | A2 | 400035
56 | (055K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.5 / 45.7): S/G chemistry related to main condenser air in-leakage | 2.9 | K5 | 400055
57 | (041K3.05) Knowledge of the effect that a loss or malfunction of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 2.7 | K3 | 400041
58 | (075A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CW) CIRCULATING WATER SYSTEM, including (CFR: 41.5 / 45.5): Condenser availability/C-9 | 3.3 | A1 | 400075
59 | (027K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): CSS | 2.9 | K6 | 400027
60 | (068K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): RCS | 2.8 | K1 | 400068
61 | (033K2.01) Knowledge of electrical power supplies to the following: (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7) Spent fuel pool cooling pumps | 3.1 | K2 | 400033
62 | (072A4.03) Ability to manually operate and/or monitor the (SF7 ARM) AREA RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | A4 | 400072
63 | (034K4.04) Knowledge of (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7 / 43.7 / 45.8): Containment integrity | 3.6 | K4 | 400034
64 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
67 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G2.4 | G2.4
70 | (192008K1.04) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) Relate the concept of subcritical multiplication to predicted count rate and startup rate response for control rod withdrawal during the approach to criticality | 3.8 | R | 192008
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
73 | (193008K1.18) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Describe the factors affecting single- and two-phase flow resistance | 2.5 | T | 193008
74 | (193006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- cavitation | 3.3 | T | 193006
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395002
77 | (056AA2.01) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): PZR pressure controller | 3.5 | A2 | 395015
78 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395010
79 | (WE11EA2.11) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Core exit temperatures and/or subcooling | 3.9 | A2 | 395022
80 | (395021) (W E04) LOCA Outside Containment (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 395021
81 | (027AA2.12) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR level | 3.7 | A2 | 395009
82 | (395046) (W E16) High Containment Radiation (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395046
83 | (005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.9 | A2 | 395026
84 | (395045) (W E15) Containment Flooding (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395045
85 | (059AA2.03) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Failure modes, symptoms, and/or indications of a radioactive-liquid monitor failure | 3.3 | A2 | 395034
86 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400039
87 | (004A2.19) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): High primary concentrations of chloride, fluoride, sodium, and solids | 2.6 | A2 | 400004
88 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 400064
89 | (026A2.09) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Radiation hazard potential of BWST/RWST | 3 | A2 | 400026
90 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 400062
91 | (014A2.10) Ability to (a) predict the impacts of the following on the (SF1 RPI) ROD POSITION INDICATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 43.6 / 45.3 / 45.12 / 45.13): Failed RPI data cabinet | 3.3 | A2 | 400014
92 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 400071
93 | (045A2.09) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): If exciter fails, trip the MT/G | 3.1 | A2 | 400045
94 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
95 | (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4