## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE02EA1.07) Ability to operate and/or monitor the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.7 / 45.5 / 45.6): ITM | 4.1 | A1 | 395001
2 | (055EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): AFW flow | 4.1 | A2 | 395014
3 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
4 | (058AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs or EOPs for loss of DC power | 4.1 | K3 | 395017
5 | (065AK2.08) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.5 | K2 | 395019
6 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 395023
7 | (062AA1.08) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Alignment/cross-connection of backup systems | 3.5 | A1 | 395018
8 | (025AA2.15) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Refueling water cavity level | 3.8 | A2 | 395007
9 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
10 | (008AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 3.5 | K3 | 395002
11 | (029EK2.12) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): CRDS | 3.9 | K2 | 395010
12 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 395012
13 | (057AA1.04) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): RWST and VCT valves | 3.8 | A1 | 395016
14 | (WE11EA2.18) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment hydrogen concentration | 3 | A2 | 395022
15 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
16 | (009EK3.27) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manual depressurization or HPI recirculation for sustained high pressure | 3.7 | K3 | 395003
17 | (077AK2.10) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): EDGs | 4 | K2 | 395020
18 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 395008
19 | (WE13EA1.09) Ability to operate and/or monitor the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 to 41.8 / 45.5. to 45.8): MRSS | 3.3 | A1 | 395044
20 | (069AA2.01) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Loss of containment integrity | 4.3 | A2 | 395039
21 | (051AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser vacuum to circulating water, flow rate, and temperature | 3.3 | K1 | 395033
22 | (076AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs or AOPs for high reactor coolant activity | 3.5 | K3 | 395041
23 | (BE09EK2.11) Knowledge of the relationship between (BW E09) NATURAL CIRCULATION COOLDOWN and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Secondary heat sink | 4.5 | K2 | 395054
24 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 395038
25 | (024AA1.09) Ability to operate and/or monitor the following as they apply to (APE 24) EMERGENCY Boration (CFR: 41.7 / 45.5 / 45.6): ECCS | 3.5 | A1 | 395027
26 | (001AA2.09) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): RPI | 3.8 | A2 | 395024
27 | (005A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature | 3.9 | A1 | 400005
28 | (010A4.02) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR heaters | 3.6 | A4 | 400010
29 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
30 | (064K4.05) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Incomplete-start relay | 3.2 | K4 | 400064
31 | (007A2.05) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Exceeding PRT/quench tank high-pressure limits | 3.9 | A2 | 400007
32 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 400062
33 | (013A3.12) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): ESFAS permissives | 3.9 | A3 | 400013
34 | (063K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery chargers | 3.9 | K6 | 400063
35 | (006K2.02) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) Valve operators for safety injection tanks | 3.2 | K2 | 400006
36 | (004K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): PZR and PRT/quench tank | 3.7 | K1 | 400004
37 | (039K3.05) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 3.9 | K3 | 400039
38 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
39 | (061A4.02) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW flow | 4.2 | A4 | 400061
40 | (059K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Quadrant power tilt | 2.5 | K5 | 400059
41 | (012K4.06) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic or manual enable/disable of RPS trips | 4.1 | K4 | 400012
42 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.9 | A2 | 400078
43 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191004K1.03) PUMPS (CFR: 41.3): (CENTRIFUGAL) Consequences of air/steam binding | 3.3 | C | 400003
44 | (073K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): LRS | 3.4 | A3 | 400073
45 | (008K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): PRMS | 2.7 | K6 | 400008
46 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
47 | (076K1.27) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): IAS | 2.8 | K1 | 400076
48 | (005K3.08) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCWS | 3.1 | K3 | 400005
49 | (010A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure and temperature | 3.2 | A1 | 400010
50 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
51 | (064K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of the premature opening of a breaker under load | 3.3 | K5 | 400064
52 | (007K4.02) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Source of makeup/fill water | 2.7 | K4 | 400007
53 | (062A2.17) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of control power | 3.7 | A2 | 400062
54 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 400013
55 | (028A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Hydrogen concentration | 3.2 | A1 | 400028
56 | (075A4.12) Ability to manually operate and/or monitor the (SF8 CW) CIRCULATING WATER SYSTEM in the control room (CFR: 41.4 / 41.7 / 45.5 / 45.8): Discharge valve interlock system | 2.6 | A4 | 400075
57 | (050K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.5 / 45.3): Airborne contamination (e.g., radiological, toxic gas, and smoke) control | 3.6 | K5 | 400050
58 | (055K4.01) Knowledge of (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Draw main condenser vacuum | 3.3 | K4 | 400055
59 | (034A2.02) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Dropped fuel cask | 3.2 | A2 | 400034
60 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (191002K1.13) SENSORS AND DETECTORS (CFR: 41.7): (TEMPERATURE) Theory and operation of thermocouple, RTD, thermostats, and/or thermometers (expanding fluid) | 2.8 | C | 400072
61 | (033K4.05) Knowledge of (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate SDM | 3.6 | A3 | 400033
62 | (035K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P SG) STEAM GENERATOR SYSTEM (CFR: 41.7 / 45.7): S/G level, S/G pressure, or steam flow detector | 3.8 | K6 | 400035
63 | (014K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF1 RPI) ROD POSITION INDICATION SYSTEM Rod position main control room display panel | 3 | K2 | 400014
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1): State the relationship between reactivity and effective multiplication factor | 2.5 | R | 192002
72 | (192008K1.23) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (REACTOR RESPONSE ON A TRIP) Explain the shape of a curve of reactor power versus time after a trip | 3.1 | R | 192008
73 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
74 | (193009K1.10) CORE THERMAL LIMITS (CFR: 41.14): Define and calculate quadrant tilt (symmetric offset) ratio | 3.3 | T | 193009
75 | (193003K1.12) STEAM (CFR: 41.14): Define the following term: -- moisture content | 2.8 | T | 193003
76 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 395015
77 | (038EA2.20) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): S/G pressure | 3.9 | A2 | 395011
78 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395004
79 | (054AA2.09) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): S/G dryout conditions | 3.8 | A2 | 395013
80 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G | 395006
81 | (BE10EA2.05) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Turbine throttle and governor valve position | 3.9 | A2 | 395001
82 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 395043
83 | (WE06EA2.10) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): Reactor vessel level | 3.7 | A2 | 395040
84 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395035
85 | (067AA2.14) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Equipment that will be affected by fire suppression activities in each zone | 3.3 | A2 | 395037
86 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 400063
87 | (006A2.08) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): ECCS valve failure mode | 3.5 | A2 | 400006
88 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400004
89 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 3.7 | A2 | 400039
90 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 400026
91 | (056A2.19) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): S/GB malfunction | 2.8 | A2 | 400056
92 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400068
93 | (029A2.05) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): ESFAS actuation | 3.6 | A2 | 400029
94 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4