## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (009EA2.38) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Existence of head bubble | 4 | A2 | 395003
2 | (058AK2.05) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 3.6 | K2 | 395017
3 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395022
4 | (025AA1.20) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): ECCS | 3.7 | A1 | 395007
5 | (BE04EK1.13) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary heat sink | 3.9 | K1 | 395023
6 | (015AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for RCP malfunction | 3.8 | K3 | 395005
7 | (BE10EA2.11) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Proper electrical response | 3.9 | A2 | 395001
8 | (055EK2.04) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AFW system | 4.2 | K2 | 395014
9 | (395021) (W E04) LOCA Outside Containment (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 395021
10 | (062AA1.03) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): SWS as a backup to the CCWS | 3.1 | A1 | 395018
11 | (029EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Addition of negative reactivity | 4.2 | K1 | 395010
12 | (026AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying CCW adequate surge tank level | 3.4 | K3 | 395008
13 | (022AA2.07) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): VCT level | 3.8 | A2 | 395006
14 | (CE06EK2.07) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): SGS | 4 | K2 | 395013
15 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395020
16 | (065AA1.08) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument and/or service air dryers | 3.2 | A1 | 395019
17 | (038EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Natural circulation | 3.6 | K1 | 395011
18 | (056AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Order and time to initiation of power for the load sequencer | 3.6 | K3 | 395015
19 | (078AA2.04) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): CCWS surge tank vent isolation valve indication | 2.7 | A2 | 395042
20 | (WE03EK2.03) Knowledge of the relationship between (W E03) LOCA COOLDOWN AND Depressurization and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): AC electrical distribution system | 3.3 | K2 | 395053
21 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395035
22 | (033AA1.03) Ability to operate and/or monitor the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Manual restoration of power | 2.9 | A1 | 395030
23 | (001AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.8 / 41.10 / 45.3): Prompt criticality | 3.8 | K1 | 395024
24 | (059AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures | 3.6 | K3 | 395034
25 | (WE09EA2.11) Ability to determine and/or interpret the following as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.10 / 43.5 / 45.13): S/G level, pressure, and/or feedwater flow | 3 | A2 | 395054
26 | (051AK2.13) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): SDS | 3.5 | K2 | 395033
27 | (004K5.21) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Parts per million and weight percent for boron | 3 | K5 | 400004
28 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
29 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 400076
30 | (026A4.01) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CSS controls | 3.9 | A4 | 400026
31 | (006K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): ECCS support ventilation systems | 3 | K1 | 400006
32 | (059A2.07) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Tripping of MFW pump turbine | 4 | A2 | 400059
33 | (010A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): PZR and RCS boron concentrations equalization | 3.2 | A1 | 400010
34 | (003K4.10) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Increasing pump inertia (flywheel) | 2.9 | K4 | 400003
35 | (007K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Makeup/fill water | 2.5 | K6 | 400007
36 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
37 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
38 | (078K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Loss of instrument air | 3.9 | K5 | 400078
39 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
40 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (191008K1.11) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Control room indication of a breaker status | 3.3 | C | 400039
41 | (064A4.11) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The setting of droop voltage to zero | 3.1 | A4 | 400064
42 | (061K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Cooling water for AFW components | 3.4 | K1 | 400061
43 | (103A2.07) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment vacuum system malfunctions | 3.3 | A2 | 400103
44 | (005A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RHR temperature | 3.7 | A1 | 400005
45 | (063K4.01) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Manual/automatic transfers of control | 3.4 | K4 | 400063
46 | (008K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Sources of makeup water | 3 | K6 | 400008
47 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
48 | (004K3.06) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): RCS | 3.9 | K3 | 400004
49 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
50 | (076A3.03) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic closure of CCW auxiliary building header supply and return valves | 3.5 | A3 | 400076
51 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400026
52 | (006A4.10) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDSs | 3.6 | A4 | 400006
53 | (059K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): S/Gs | 3.9 | K1 | 400059
54 | (010A2.04) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of charging flow to auxiliary spray valves | 3.4 | A2 | 400010
55 | (072K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ARM) AREA RADIATION MONITORING SYSTEM (CFR: 41.5 / 45.8 / 45.9): Containment isolation | 3.6 | K5 | 400072
56 | (056A3.08) Ability to monitor automatic features of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.7 / 45.5): Flow through stator coolant and hydrogen coolers | 2.5 | A3 | 400056
57 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (191003K1.01) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and operation of flow controller in manual and automatic modes | 3.2 | C | 400068
58 | (055A4.04) Ability to manually operate and/or monitor the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Realign CARS exhaust path | 3 | A4 | 400055
59 | (002K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): LRS | 3.1 | K1 | 400002
60 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | A2 | 400027
61 | (050A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.5 / 45.5): Control room pressure | 3 | A1 | 400050
62 | (015K4.09) Knowledge of (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Redundant sources of information on axial flux density distribution | 3.2 | K4 | 400015
63 | (011K6.19) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7 / 45.7): ESFAS | 3.8 | K6 | 400011
64 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
66 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193007K1.04) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe how the presence of gases or steam can affect heat transfer and fluid flow in heat exchangers | 3 | T | 193007
76 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 395016
77 | (011EA2.17) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Containment pressure, leakage, and/or temperature | 4.1 | A2 | 395004
78 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 395012
79 | (008AA2.31) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): Reseating of code safety and PORV | 3.5 | A2 | 395002
80 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395009
81 | (009EA2.23) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): RCP operating parameters and limits | 3.7 | A2 | 395003
82 | (395037) 000067 (APE 67) Plant Fire On Site (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395037
83 | (037AA2.02) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Agreement/disagreement among diverse radiation monitors | 3.6 | A2 | 395032
84 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 395038
85 | (036AA2.06) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Refueling water level | 3.6 | A2 | 395031
86 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 400003
87 | (007A2.03) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overpressurization of the PZR | 3.4 | A2 | 400007
88 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 400062
89 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
90 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 400078
91 | (035A2.04) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Steam flow/feed flow mismatch | 3.9 | A2 | 400035
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 400016
93 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.2 | A2 | 400017
94 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G2.4 | G2.4