## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395011
2 | (027AK2.13) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR master pressure controller | 3.9 | K2 | 395009
3 | (077AA2.05) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of grid | 3.7 | A2 | 395020
4 | (026AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance actions contained in EOPs for loss of CCW | 3.8 | K3 | 395008
5 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
6 | (055EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395014
7 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395007
8 | (022AK2.10) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): PZR LCS | 3.8 | K2 | 395006
9 | (029EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): AFW flow | 3.5 | A2 | 395010
10 | (CE06EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Restore letdown | 2.9 | K3 | 395013
11 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
12 | (BE04EA1.08) Ability to operate and/or monitor the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.5 to 45.8): MFW system | 3.7 | A1 | 395023
13 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395018
14 | (015AK2.07) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): RCP seals | 3.8 | K2 | 395005
15 | (WE11EA2.17) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Alternate makeup source to RCS flow | 3.5 | A2 | 395022
16 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
17 | (040AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): Consequences of PTS | 4 | K1 | 395012
18 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
19 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395041
20 | (037AK2.22) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): SDS | 3.5 | K2 | 395032
21 | (WE08EA2.07) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): RCP No. 1 seal D/P | 2.7 | A2 | 395056
22 | (028AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): False indication of PZR level when PORV or spray valve is open and RCS is saturated | 3.8 | K3 | 395028
23 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
24 | (036AA1.06) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): Containment isolation valves and/or hatches | 3.6 | A1 | 395031
25 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 395040
26 | (WE16EK2.03) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment ventilation isolation | 3.7 | K2 | 395046
27 | (059K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): S/Gs | 3.9 | K1 | 400059
28 | (010A3.03) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR heater operation | 3.3 | A3 | 400010
29 | (003K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCP lube oil pumps and RCP bearing lift oil pumps | 2.9 | K2 | 400003
30 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
31 | (076A2.04) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): ESF-actuated motor-operated valve failure | 3 | A2 | 400076
32 | (013K4.04) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): AFW actuation/reset | 4.1 | K4 | 400013
33 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 400005
34 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
35 | (022A4.02) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS pumps | 3.6 | A4 | 400022
36 | (012K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Trip logic circuits | 4 | K6 | 400012
37 | (063K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG | 4.5 | K3 | 400063
38 | (026K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.1 | K1 | 400026
39 | (064A3.13) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Opening/closing EDG output breaker | 3.8 | A3 | 400064
40 | (004K2.03) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Charging pumps | 3.9 | K2 | 400004
41 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K5 | 400073
42 | (008A2.05) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effect of loss of instrument and control air on the position of air-operated CCW valves | 3.2 | A2 | 400008
43 | (062K4.01) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bus lockouts | 3.6 | K4 | 400062
44 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (191008K1.02) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Local indication that breaker is open, closed, or tripped | 2.9 | C | 400039
45 | (061A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): S/G level | 4.2 | A1 | 400061
46 | (006A4.05) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Transfer of ECCS flowpaths | 4.1 | A4 | 400006
47 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
48 | (059K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/Gs | 3.8 | K3 | 400059
49 | (010K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): AFW | 2.8 | K1 | 400010
50 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
51 | (078K2.02) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Emergency air compressor | 3.4 | K2 | 400078
52 | (076K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Radiation alarms on SWS | 3.1 | K5 | 400076
53 | (013A2.05) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of DC control power | 3.4 | A2 | 400013
54 | (005K4.01) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure mitigation system | 4.1 | K4 | 400005
55 | (035K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P SG) STEAM GENERATOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.5 | K1 | 400035
56 | (056A3.01) Ability to monitor automatic features of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.7 / 45.5): Automatic hotwell level control | 2.9 | A3 | 400056
57 | (016K2.03) Knowledge of electrical power supplies to the following: (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7) Primary system control circuits | 3.4 | K2 | 400016
58 | (072K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ARM) AREA RADIATION MONITORING SYSTEM (CFR: 41.5 / 45.8 / 45.9): Containment isolation | 3.6 | K5 | 400072
59 | (014A2.09) Ability to (a) predict the impacts of the following on the (SF1 RPI) ROD POSITION INDICATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 43.6 / 45.3 / 45.12 / 45.13): Urgent alarm | 3.3 | A2 | 400014
60 | (071K4.05) Knowledge of (SF9 WGS) WASTE GAS DISPOSAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Point of release | 3.3 | K4 | 400071
61 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 400002
62 | (028A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Hydrogen concentration | 3.2 | A1 | 400028
63 | (015A4.03) Ability to manually operate and/or monitor the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Trip bypasses | 3.7 | A4 | 400015
64 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G2.4 | G2.4
70 | (192005K1.04) CONTROL RODS (CFR: 41.1): Define reactor trip | 3.2 | R | 192005
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
73 | (193009K1.03) CORE THERMAL LIMITS (CFR: 41.14): Explain local peaking factor | 2.7 | T | 193009
74 | (193010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State how the possibility of brittle fracture is minimized by operating limitations | 3.7 | T | 193010
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395004
77 | (056AA2.60) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of MSIVs | 3.3 | A2 | 395015
78 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395002
79 | (BE10EA2.05) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Turbine throttle and governor valve position | 3.9 | A2 | 395001
80 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 395003
81 | (038EA2.21) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): PZR level | 3.9 | A2 | 395011
82 | (395044) (W E13) Steam Generator Overpressure (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 395044
83 | (059AA2.05) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): The occurrence of automatic safety actions as a result of a high-radiation signal | 3.9 | A2 | 395034
84 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 395024
85 | (003AA2.07) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): In-core NIS | 3.4 | A2 | 395025
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400103
87 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
88 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400012
89 | (063A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of ventilation during battery charging | 2.8 | A2 | 400063
90 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 400026
91 | (075A2.08) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Ice buildup on intake structure | 3.1 | A2 | 400075
92 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400033
93 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.2 | A2 | 400017
94 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4