## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (056AA2.15) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of main generator emergency bearing oil | 2.8 | A2 | 395015
2 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
3 | (011EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Long-term containment of radioactivity | 4.1 | K1 | 395004
4 | (065AK2.08) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.5 | K2 | 395019
5 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 395018
6 | (009EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.3 | A1 | 395003
7 | (007EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): RCS pressure and temperature | 3.8 | A2 | 395001
8 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
9 | (040AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): High-energy steamline break considerations | 3.6 | K1 | 395012
10 | (055EK2.01) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): Letdown isolation, RCP seal return, PZR PORVs, or secondary PORVs (atmospheric relief valves) | 3.9 | K2 | 395014
11 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395020
12 | (WE11EA1.11) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCPS | 3.2 | A1 | 395022
13 | (015AA2.10) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Loss of cooling or seal injection | 3.4 | A2 | 395005
14 | (058AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs or EOPs for loss of DC power | 4.1 | K3 | 395017
15 | (027AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Latent heat of vaporization / condensation | 3.2 | K1 | 395009
16 | (008AK2.12) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): SPDS | 3.5 | K2 | 395002
17 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395008
18 | (029EA1.21) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): AMSAC | 3.9 | A1 | 395010
19 | (WE13EA2.04) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Feedwater isolation | 3.3 | A2 | 395044
20 | (BE08EK3.21) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Perform actions to preclude boron precipitation | 3.4 | K3 | 395053
21 | (003AK1.26) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Dropped control rod during reactor startup | 3.6 | K1 | 395025
22 | (068AK2.19) Knowledge of the relationship between (APE 68) Control Room Evacuation and the following systems or components (CFR: 41.7 / 45.7): Motor control centers | 3.3 | K2 | 395038
23 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395029
24 | (WE14EA1.08) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): CCS | 4 | A1 | 395039
25 | (028AA2.15) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): PZR level reactor protection bistables | 3 | A2 | 395028
26 | (061AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in alarm response for the ARM system | 3.4 | K3 | 395036
27 | (061K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): Bearing oil supply for turbine-driven pumps | 2.8 | K6 | 400061
28 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K5 | 400073
29 | (003K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCPS | 3.7 | K2 | 400003
30 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
31 | (039K4.05) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic isolation of steamline | 4 | K4 | 400039
32 | (007A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure | 3.1 | A1 | 400007
33 | (059K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 3.2 | K3 | 400059
34 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 400012
35 | (063A4.02) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Load shedding | 3.6 | A4 | 400063
36 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.5 | A2 | 400103
37 | (010K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): AFW | 2.8 | K1 | 400010
38 | (008K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): CCW pump(s) | 3.9 | K6 | 400008
39 | (013K5.23) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.3 to 41.5 / 45.7): Inadequate core cooling | 4.2 | K5 | 400013
40 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
41 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
42 | (076K4.04) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Intake water level recorders | 2.8 | K4 | 400076
43 | (062A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Inverter outputs | 3.2 | A1 | 400062
44 | (078K3.11) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Feedwater system | 3.3 | K3 | 400078
45 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (191007K1.11) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Plant evolutions that can cause crud bursts and the effect on demineralizers | 2.8 | C | 400064
46 | (006A4.06) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): ESFAS control panel | 4.1 | A4 | 400006
47 | (004A2.15) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): High or low PZR level (actual) | 3.7 | A2 | 400004
48 | (061K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): MRSS | 3.1 | K1 | 400061
49 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
50 | (003K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): The dependency of RCS flow rates upon the number of operating RCPs | 3.2 | K5 | 400003
51 | (005K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RCS pressure boundary motor‑operated valves | 3.4 | K2 | 400005
52 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
53 | (007K4.05) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Draining PRT/quench tank | 2.6 | K4 | 400007
54 | (059A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater regulating valve D/P | 3.2 | A1 | 400059
55 | (017K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.7 / 45.7): Temperature measuring device (for example thermocouple) | 3.2 | K6 | 400017
56 | (029K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CPS) CONTAINMENT PURGE SYSTEM (CFR: 41.5 / 45.8): Containment entry | 2.9 | K5 | 400029
57 | (011K2.02) Knowledge of electrical power supplies to the following: (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.3 | K2 | 400011
58 | (071A3.04) Ability to monitor automatic features of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Automatic isolation | 3 | A3 | 400071
59 | (041K4.10) Knowledge of (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PZR LCS | 2.7 | K4 | 400041
60 | (045A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Physical parameters of the MT/G (such as speed, sound, vibration, expansion, temperature, pressure, and flow) | 3 | A1 | 400045
61 | (033K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 2.6 | K3 | 400033
62 | (400034) 034 (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400034
63 | (072A4.02) Ability to manually operate and/or monitor the (SF7 ARM) AREA RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Radiation monitor function | 3.4 | A4 | 400072
64 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192005K1.08) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- boron concentration | 2.8 | R | 192005
71 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193007K1.04) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe how the presence of gases or steam can affect heat transfer and fluid flow in heat exchangers | 3 | T | 193007
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193009K1.09) CORE THERMAL LIMITS (CFR: 41.14): Describe the effects of quadrant power tilt (symmetric offset), including long-range effects | 3.2 | T | 193009
76 | (CE06EA2.09) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Charging and letdown flow | 3.3 | A2 | 395013
77 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 395023
78 | (025AA2.15) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Refueling water cavity level | 3.7 | A2 | 395007
79 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 395011
80 | (022AA2.08) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): RCP seal flows, temperatures, pressures, and vibrations | 3.7 | A2 | 395006
81 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 395015
82 | (051AA2.01) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Condenser vacuum | 3.7 | A2 | 395033
83 | (395045) (W E15) Containment Flooding (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 395045
84 | (059AA2.06) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Verification that the flow rate of the liquid being released is less than or equal to that specified on the release permit | 3.6 | A2 | 395034
85 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 395030
86 | (012A2.03) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Incorrect channel bypassing | 3.8 | A2 | 400012
87 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 400063
88 | (103A2.04) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions requiring containment evacuation (including recognition of the alarm) | 3.4 | A2 | 400103
89 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400010
90 | (008A2.07) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Consequences of high/low CCW flow rates | 3.1 | A2 | 400008
91 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 400002
92 | (056A2.13) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Opening of the condensate recirculation valve | 2.9 | A2 | 400056
93 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 400016
94 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4