## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295016AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Abandonment criteria | 4.1 | K3 | 295016
2 | (295037EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Hot shutdown boron weight | 3.7 | K1 | 295037
3 | (295026EK2.11) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Safety/relief valves | 3.9 | K2 | 295026
4 | (295038EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Meteorological data | 3.7 | A2 | 295038
5 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 700000
6 | (295019AA1.01) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Backup air supply | 3.4 | A1 | 295019
7 | (295021AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Increasing drywell cooling | 2.9 | K3 | 295021
8 | (295005AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor pressure control | 4.3 | K1 | 295005
9 | (295003AK2.01) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) Station batteries | 4 | K2 | 295003
10 | (295001AA2.10) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Recirculation system/RPV differential temperatures | 3.6 | A2 | 295001
11 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 295024
12 | (295031EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Control rod drive hydraulic system | 3.6 | A1 | 295031
13 | (295006AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor power response | 4.2 | K3 | 295006
14 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
15 | (295004AK2.03) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) DC electrical loads | 3.8 | K2 | 295004
16 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.7 | A2 | 295025
17 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 295023
18 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
19 | (295018AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Cross-connecting with backup systems | 3.1 | K3 | 295018
20 | (295030EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Pump NPSH | 3.9 | K1 | 295030
21 | (295035EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Radiation release rate | 4.1 | A2 | 295035
22 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295007
23 | (500000EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.7 / 45.6) Primary containment hydrogen instrumentation | 3.7 | A1 | 500000
24 | (295014AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.3 | K3 | 295014
25 | (295022AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.8 to 41.10) Reactor pressure vs. rod insertion capability | 3.9 | K1 | 295022
26 | (295032EK2.05) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Temperature sensitive instrumentation | 3.2 | K2 | 295032
27 | (259002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.5 | A1 | 259002
28 | (205000A2.09) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor low water level | 4.1 | A2 | 205000
29 | (203000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.5 / 45.3) Core cooling methods | 4.2 | K5 | 203000
30 | (510000K2.02) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system valves (Class 1E) | 3.4 | K2 | 510000
31 | (223002K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Isolation condenser (Nine Mile Point 1, Dresden) | 4.1 | K1 | 223002
32 | (264000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Lube oil components | 3.6 | K6 | 264000
33 | (239002K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 SRV) SAFETY RELIEF VALVES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure control | 4.3 | K3 | 239002
34 | (215004A4.04) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS drive control switches | 3.5 | A4 | 215004
35 | (215005K4.01) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Rod withdrawal blocks | 3.9 | K4 | 215005
36 | (261000A3.01) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) System flow | 3.6 | A3 | 261000
37 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 262001
38 | (212000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) Valve position | 3.6 | A1 | 212000
39 | (300000A2.02) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Component cooling water system malfunction | 3.4 | A2 | 300000
40 | (211000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Effects of the moderator temperature coefficient of reactivity on boron | 3 | K5 | 211000
41 | (217000K2.02) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation/isolation logic | 3.7 | K2 | 217000
42 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
43 | (218000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) RHR/LPCI pump running permissive | 4.2 | K6 | 218000
44 | (215003K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM system | 3.4 | K3 | 215003
45 | (209001A4.15) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Initiation reset | 3.6 | A4 | 209001
46 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
47 | (400000A3.06) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System response due to a LOOP signal | 3.7 | A3 | 400000
48 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291004K1.25) PUMPS (CFR: 41.3) (POSITIVE DISPLACEMENT) Safety procedures and precautions associated with positive displacement pumps | 3.1 | C | 209002
49 | (259002A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Main steam flow | 3.6 | A1 | 259002
50 | (205000A2.05) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) System isolation | 4 | A2 | 205000
51 | (203000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.5 / 45.3) Vortex limits | 3.3 | K5 | 203000
52 | (510000K2.01) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system pumps (Class 1E) | 3.7 | K2 | 510000
53 | (288000A3.02) Ability to monitor automatic operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.7 / 45.7) Differential pressure control | 3.3 | A3 | 288000
54 | (245000) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 245000
55 | (510001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.1 | A1 | 510001
56 | (233000A2.04) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 3.6 | A2 | 233000
57 | (201003K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) How control rods affect shutdown margin | 3.4 | K5 | 201003
58 | (290001K2.02) (SF5 SC) SECONDARY CONTAINMENT Knowledge of electrical power supplies to the following: (CFR: 41.7) HVAC isolation dampers | 2.8 | K2 | 290001
59 | (290002K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Automatic depressurization system | 3.9 | K1 | 290002
60 | (202001K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1, SF4 RS) RECIRCULATION SYSTEM: (CFR: 41.7 / 45.7) Reactor water level | 3.7 | K6 | 202001
61 | (286000K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Plant protection | 3.6 | K3 | 286000
62 | (234000A4.02) Ability to manually operate and/or monitor the (SF8 FH) FUEL HANDLING in the control room: (CFR: 41.7 / 45.5 to 45.8) Control rod drive system | 3.9 | A4 | 234000
63 | (201001K4.04) Knowledge of (SF1 CRDH) CRD HYDRAULIC SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.2-3 / 41.6-7 / 41.10 / 41.12 / 45.1-6) Scramming control rods with inoperative SCRAM solenoid valves (backup SCRAM valves) | 4 | K4 | 201001
64 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
71 | (292004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the void coefficient of reactivity | 3.2 | R | 292004
72 | (292003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define reactor period | 3.7 | R | 292003
73 | (293007K1.02) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Describe thermal conductivity | 2.6 | T | 293007
74 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
75 | (293010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the definition of nil-ductility transition temperature | 2.7 | T | 293010
76 | (295016AA2.02) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.2 | A2 | 295016
77 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295037
78 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
79 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 295038
80 | (700000AA2.06) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator frequency limitations | 3 | A2 | 700000
81 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 295019
82 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295021
83 | (295009AA2.03) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown rate | 2.9 | A2 | 295009
84 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295008
85 | (295010AA2.04) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell humidity | 2.7 | A2 | 295010
86 | (223002A2.14) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor protection system failures | 4 | A2 | 223002
87 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 264000
88 | (239002A2.01) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open vacuum breakers | 3.6 | A2 | 239002
89 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 215004
90 | (215005A2.07) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation flow channels flow mismatch | 3.5 | A2 | 215005
91 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 202002
92 | (216000A2.08) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Elevated containment temperature | 3.4 | A2 | 216000
93 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 259001
94 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4
100 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4