## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (026AA2.02) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The cause of possible CCW loss | 3.6 | A2 | 395008
2 | (008AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Consequences due to a PZR vapor space leak | 4 | K1 | 395002
3 | (BE10EK2.06) Knowledge of the relationship between (BW E10) POST-TRIP STABILIZATION and the following systems or components (CFR: 41.8 / 41.10 / 45.3): IAS | 3.6 | K2 | 395001
4 | (CE05EA1.04) Ability to operate and/or monitor the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.7 / 45.5 / 45.6): ESFAS | 4.2 | A1 | 395012
5 | (395003) 000009 (EPE 9) Small Break LOCA (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395003
6 | (027AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails low | 3.9 | K3 | 395009
7 | (011EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Significance of ECCS pump operation | 4.4 | A2 | 395004
8 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
9 | (025AK2.24) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): PZR pressure and LCS | 3.3 | K2 | 395007
10 | (029EA1.19) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): MT/G | 3.6 | A1 | 395010
11 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395022
12 | (022AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Adjustment of RCP seal backpressure regulator valve to obtain normal flow | 3.4 | K3 | 395006
13 | (038EA2.20) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): S/G pressure | 3.6 | A2 | 395011
14 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
15 | (CE06EK2.03) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.9 | K2 | 395013
16 | (057AA1.01) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Inverter transfer to backup power supply | 3.7 | A1 | 395016
17 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 395023
18 | (062AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Effect on the service water discharge flow header of a loss of CCW | 3.3 | K3 | 395018
19 | (033AA2.10) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): TS limits if both intermediate range channels have failed | 4.2 | A2 | 395030
20 | (051AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser and MT/G operation | 3.7 | K1 | 395033
21 | (WE02EK2.06) Knowledge of the relationship between (W E02) SI TERMINATION and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Control RPIS | 2.6 | K2 | 395043
22 | (WE08EA1.16) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): AFW system | 3.5 | A1 | 395056
23 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395041
24 | (078AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.5 / 41.10 / 45.6 / 45.13): CCWS radiation alarm | 3.4 | K3 | 395042
25 | (WE16EA2.01) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.3 | A2 | 395046
26 | (WE15EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.7 / 45.7 / 45.8): Design‑basis flood level in containment | 3.1 | K1 | 395045
27 | (004K3.13) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): ECCS | 3.8 | K3 | 400004
28 | (026K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CSS pumps | 3.9 | K6 | 400026
29 | (007K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): LRS | 2.6 | K1 | 400007
30 | (005A4.02) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RHR heat exchanger temperature/bypass control valves | 3.9 | A4 | 400005
31 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
32 | (006K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Vortexing from RWST | 3.1 | K5 | 400006
33 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 400061
34 | (063A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery charger voltage and/or current | 3.3 | A1 | 400063
35 | (010A2.08) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Safety valves failure to reseat | 4.5 | A2 | 400010
36 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
37 | (064K4.10) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic load sequencer: blackout | 4.1 | K4 | 400064
38 | (003K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.9 | K3 | 400003
39 | (013K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): IAS | 3 | K6 | 400013
40 | (078K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): PVSs | 2.8 | K1 | 400078
41 | (012A4.02) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Components for individual channels | 3.8 | A4 | 400012
42 | (103A2.09) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): HRPS failure | 3 | K2 | 400103
43 | (073K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CVCS | 3.3 | K5 | 400073
44 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (191002K1.08) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Effects of operating environment (pressure, temperature, and/or radiation) | 3.1 | C | 400008
45 | (062A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Transformer parameters | 3.1 | A1 | 400062
46 | (076A2.04) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): ESF-actuated motor-operated valve failure | 3 | A2 | 400076
47 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
48 | (004K4.22) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Design minimum and maximum flow rates for letdown system | 3.2 | K4 | 400004
49 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
50 | (007K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): RCS | 3.3 | K6 | 400007
51 | (005K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.2 | K1 | 400005
52 | (059A4.11) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Recovery from automatic MFW isolation | 3.6 | A4 | 400059
53 | (006K2.02) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) Valve operators for safety injection tanks | 3.2 | K2 | 400006
54 | (061K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Expected AFW flow rates based on plant conditions | 3.9 | K5 | 400061
55 | (055K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main condenser | 3.8 | K3 | 400055
56 | (050K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.7 / 45.7): Nuclear steam supply system | 3 | K6 | 400050
57 | (017K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SPDS | 3.8 | K1 | 400017
58 | (072A4.01) Ability to manually operate and/or monitor the (SF7 ARM) AREA RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and interlock setpoint checks and adjustments | 3.3 | A4 | 400072
59 | (001K2.03) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) Logic circuits | 3.5 | K2 | 400001
60 | (041K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.5 / 45.7): Relationship of no-load T-ave. to atmospheric dump valve setpoint on a reactor trip | 3.5 | K5 | 400041
61 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 400045
62 | (027A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Filter temperature | 2.5 | A1 | 400027
63 | (086A2.03) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Inadvertent actuation of the FPS | 3.1 | A2 | 400086
64 | (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the prompt critical, prompt jump, and prompt drop | 2.9 | R | 192003
71 | (192005K1.06) CONTROL RODS (CFR: 41.1): Explain the shape of curves for differential and integral rod worth versus rod position | 2.9 | R | 192005
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
75 | (193009K1.05) CORE THERMAL LIMITS (CFR: 41.14): State why thermal limits are necessary. | 3.5 | T | 193009
76 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395020
77 | (055EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): In-core thermocouple temperatures | 4 | A2 | 395014
78 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 395017
79 | (056AA2.86) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Main steam pressure | 3.3 | A2 | 395015
80 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395005
81 | (026AA2.05) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values for CCW-header flow rate and the flow rates to the components cooled by the CCWS | 3.1 | A2 | 395008
82 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395036
83 | (024AA2.08) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): RWST temperature | 3.1 | A2 | 395027
84 | (395037) 000067 (APE 67) Plant Fire On Site (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395037
85 | (WE14EA2.01) Ability to determine and/or interpret the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.1 | A2 | 395039
86 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400063
87 | (010A2.01) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Heater failures | 3.4 | A2 | 400010
88 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 400039
89 | (064A2.27) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of DC power | 3.9 | A2 | 400064
90 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 400003
91 | (033A2.04) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Station blackout | 3.5 | A2 | 400033
92 | (400029) 029 (SF8 CPS) CONTAINMENT PURGE SYSTEM (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 400029
93 | (028A2.03) Ability to (a) predict the impacts of the following on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Hydrogen air concentration in excess of limit, flame propagation or detonation with resulting equipment damage in containment | 3 | A2 | 400028
94 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4