## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (065AA1.08) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument and/or service air dryers | 3.2 | A1 | 395019
2 | (CE06EK2.06) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): ESFAS | 4.3 | K2 | 395013
3 | (058AA2.02) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): 125‑V DC bus voltage | 3.6 | A2 | 395017
4 | (WE11EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): MSLI on high steam pressure rate during cooldown | 3.4 | K1 | 395022
5 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 395008
6 | (015AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Sequence of events for manually tripping reactor and RCP as a result of an RCP malfunction | 3.9 | K3 | 395005
7 | (038EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): MRSS | 3.6 | A1 | 395011
8 | (WE05EK2.20) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CDS | 3.8 | K2 | 395023
9 | (025AA2.03) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Increasing reactor building sump level | 3.6 | A2 | 395007
10 | (022AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Relationship of charging flow to D/P between charging and RCS | 3.3 | K1 | 395006
11 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 395018
12 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
13 | (027AA1.01) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): PZR heaters, sprays, and PORVs | 3.8 | A1 | 395009
14 | (011EK2.03) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RCS | 4.3 | K2 | 395004
15 | (077AA2.09) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of EDGs | 4 | A2 | 395020
16 | (008AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Effects on indicated PZR pressure and/or level of sensing line leakage | 3.7 | K1 | 395002
17 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 395015
18 | (029EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manual rod insertion | 4.1 | K3 | 395010
19 | (076AA1.09) Ability to operate and/or monitor the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.7 / 45.5 / 45.6): S/GB | 2.8 | A1 | 395041
20 | (024AK2.07) Knowledge of the relationship between (APE 24) EMERGENCY Boration and the following systems or components (CFR: 41.7 / 45.7): CVCS | 4.1 | K2 | 395027
21 | (060AA2.08) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): TS and/or TRM actions for accidental release (as applicable) | 2.8 | A2 | 395035
22 | (WE09EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of RCP seal cooling | 3.1 | K1 | 395054
23 | (395045) (W E15) Containment Flooding (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395045
24 | (WE03EK3.16) Knowledge of the reasons for the following responses and/or actions as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating or venting SI accumulators | 3.3 | K3 | 395053
25 | (074EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.7 / 45.5 / 45.6): ITM | 4.1 | A1 | 395040
26 | (032AK2.03) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): RPS | 3.9 | K2 | 395029
27 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
28 | (022K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Effects on containment instrumentation | 3.6 | K5 | 400022
29 | (103K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Shield building vent system | 3.3 | K1 | 400103
30 | (005A2.01) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR instrumentation failure | 3.5 | A2 | 400005
31 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
32 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400013
33 | (007K4.06) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Venting PRT/quench tank | 2.6 | K4 | 400007
34 | (039K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): CDS | 2.9 | K6 | 400039
35 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
36 | (006K3.01) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): RCS | 4.1 | K3 | 400006
37 | (076A4.05) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Intake screen | 2.9 | A4 | 400076
38 | (059A3.08) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): S/G water LCS | 3.8 | A3 | 400059
39 | (003K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): The dependency of RCS flow rates upon the number of operating RCPs | 3.2 | K5 | 400003
40 | (078K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Extraction steam system | 2.5 | K1 | 400078
41 | (010A2.07) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuations | 4.3 | A2 | 400010
42 | (062A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Load currents | 3.3 | A1 | 400062
43 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (191006K1.14) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Reasons for noncondensable gas removal | 2.6 | C | 400064
44 | (061K4.09) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Crossties between multi-unit stations | 3.8 | K4 | 400061
45 | (004K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Sensors and detectors | 3.4 | K6 | 400004
46 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
47 | (063K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution system | 4 | K3 | 400063
48 | (012A4.02) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Components for individual channels | 3.8 | A4 | 400012
49 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
50 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
51 | (005K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CVCS | 3.6 | K1 | 400005
52 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
53 | (013A1.16) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): Auxiliary building HVAC system status | 2.9 | A1 | 400013
54 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 400007
55 | (017K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Plant computer | 3.2 | A3 | 400017
56 | (034K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (CFR: 41.4 / 41.5 / 43.7 / 45.7): Load limitations | 2.9 | K5 | 400034
57 | (075K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CW) CIRCULATING WATER SYSTEM and the following systems (CFR: 41.4 / 41.5 / 41.7 / 45.8): MRSS and SDS | 2.8 | K1 | 400075
58 | (045A2.10) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Voltage regulator malfunction | 3.3 | A2 | 400045
59 | (055A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Condenser vacuum | 3.5 | A1 | 400055
60 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (191004K1.06) PUMPS (CFR: 41.3): (CENTRIFUGAL) Need for NPSH; effects of loss of suction | 3.3 | C | 400027
61 | (086K4.01) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate supply of water for FPS | 3.4 | K4 | 400086
62 | (014K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 RPI) ROD POSITION INDICATION SYSTEM (CFR: 41.6 / 41.7 / 45.7): RPI data cabinet | 3.3 | K6 | 400014
63 | (071A3.04) Ability to monitor automatic features of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Automatic isolation | 3 | K2 | 400071
64 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the prompt critical, prompt jump, and prompt drop | 2.9 | R | 192003
71 | (192008K1.04) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) Relate the concept of subcritical multiplication to predicted count rate and startup rate response for control rod withdrawal during the approach to criticality | 3.8 | R | 192008
72 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
73 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193009K1.09) CORE THERMAL LIMITS (CFR: 41.14): Describe the effects of quadrant power tilt (symmetric offset), including long-range effects | 3.2 | T | 193009
76 | (055EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Instruments and controls operable with only DC battery power available | 3.9 | A2 | 395014
77 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 395016
78 | (009EA2.16) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): CCWS | 3.3 | A2 | 395003
79 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 395012
80 | (BE02EA2.11) Ability to determine and/or interpret the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.10 / 43.5 / 45.13): Proper electrical response | 3.5 | A2 | 395001
81 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395019
82 | (078AA2.07) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Containment radiation | 3.7 | A2 | 395042
83 | (395025) 000003 (APE 3) Dropped Control Rod (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 395025
84 | (WE02EA2.08) Ability to determine and/or interpret the following as they apply to (W E02) SI TERMINATION (CFR: 41.10 / 43.5 / 45.13): Charging flow | 3.4 | A2 | 395043
85 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 395024
86 | (039A2.08) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): MT/G malfunctions | 3.1 | A2 | 400039
87 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400008
88 | (006A2.01) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): High bearing temperature | 3.1 | A2 | 400006
89 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 400076
90 | (059A2.08) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Extremely low MFW pump control lube oil or bearing oil pressure | 3.1 | A2 | 400059
91 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 400028
92 | (050A2.06) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Breaches of control room envelope | 3.7 | A2 | 400050
93 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400016
94 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4