## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (055EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): Manual EDG start | 4.3 | A1 | 395014
2 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 395006
3 | (011EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Containment hydrogen concentration | 3.6 | K1 | 395004
4 | (056AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Order and time to initiation of power for the load sequencer | 3.6 | K3 | 395015
5 | (WE12EA2.10) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): RWST level | 3.6 | A2 | 395012
6 | (038EK2.11) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): ESFAS | 4.1 | K2 | 395011
7 | (058AA1.01) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Alternate supply | 3.6 | A1 | 395017
8 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395020
9 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
10 | (026AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): The conditions that will initiate the automatic opening and closing of the SWS isolation valves to the CCWS coolers | 3.3 | K3 | 395008
11 | (025AA2.14) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Midloop level | 3.8 | A2 | 395007
12 | (029EK2.11) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): MT/G | 3.5 | K2 | 395010
13 | (008AA1.02) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): CVCS system to control PZR level/pressure | 3.6 | A1 | 395002
14 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395003
15 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
16 | (CE06EK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Evaluate the need for a cooldown | 3.6 | K3 | 395013
17 | (CE02EA2.01) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4 | A2 | 395001
18 | (BE04EK2.08) Knowledge of the relationship between (BW E04) INADEQUATE HEAT TRANSFER and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Main steam system | 3.9 | K2 | 395023
19 | (032AA1.03) Ability to operate and/or monitor the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Rod control system | 3.3 | A1 | 395029
20 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395033
21 | (BA02AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW A02) LOSS OF NONNUCLEAR INSTRUMENTATION SYSTEM X (CFR: 41.5 / 41.7 / 45.7 / 45.8): Reactivity | 4 | K1 | 395048
22 | (BA01AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (BW A01) Plant Runback (CFR: 41.5 / 41.10 / 45.6 / 45.13): Control reactivity after plant runback (e.g., reduce power slightly below runback setpoint, adjust APSR group, reference the Core Operating Limits Report, boration, dilution, or maintain reactor power within a given band) | 3.3 | K3 | 395047
23 | (068AA2.06) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.6 | A2 | 395038
24 | (BE14EK2.13) Knowledge of the relationship between (BW E14) EOP ENCLOSURES and the following systems or components (CFR: 41.8 / 41.10 / 45.3): ESAS | 4.4 | K2 | 395055
25 | (074EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.7 / 45.5 / 45.6): RCS | 4 | A1 | 395040
26 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395053
27 | (013K3.17) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): WGS | 2.7 | K3 | 400013
28 | (004K4.21) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Design and purpose of charging pump desurger | 2.7 | K4 | 400004
29 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A4 | 400073
30 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
31 | (022K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4 | K6 | 400022
32 | (010K2.03) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PORV and block valves | 3.4 | K2 | 400010
33 | (061A2.05) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Automatic control malfunction | 3.8 | A2 | 400061
34 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 400006
35 | (053A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW), including (CFR: 41.5 / 45.5): Feedwater flow | 3.7 | A1 | 400053
36 | (064K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of not shedding loads during nonoperability test | 3.2 | K5 | 400064
37 | (003K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): S/G | 3.5 | K1 | 400003
38 | (012K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MT/G | 3.6 | K3 | 400012
39 | (062K4.13) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Load sequencing | 3.6 | K4 | 400062
40 | (008A4.12) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): CRDM temperatures | 2.9 | A4 | 400008
41 | (039A3.03) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Atmospheric relief valves | 3.7 | A3 | 400039
42 | (076K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): System leakage | 2.9 | K6 | 400076
43 | (063K2.01) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major DC loads | 3.5 | K2 | 400063
44 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
45 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (191006K1.09) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Definition of thermal shock | 2.8 | C | 400059
46 | (007A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank temperature | 3 | A1 | 400007
47 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
48 | (005K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCPS | 3.1 | K1 | 400005
49 | (013K3.01) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Fuel | 3.9 | K3 | 400013
50 | (004K4.20) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Purpose of centrifugal pump miniflows (recirculation) | 3.1 | K4 | 400004
51 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | A4 | 400073
52 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
53 | (022K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Heat exchangers and/or coolers | 3.3 | K6 | 400022
54 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
55 | (003K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.2 | K3 | 400003
56 | (039K4.07) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment isolation | 3.7 | K4 | 400039
57 | (008A4.09) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): CCW temperature control valve | 3.2 | A4 | 400008
58 | (064A3.05) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Frequency and voltage control in parallel operation | 3.8 | A3 | 400064
59 | (078K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Air compressors | 3.4 | K6 | 400078
60 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K2 | 400073
61 | (006A2.11) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Rupture of ECCS header | 3.4 | A2 | 400006
62 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 400007
63 | (010A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): RCS or PZR pressure | 3.9 | A1 | 400010
64 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
65 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (192005K1.07) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- moderator temperature | 2.8 | R | 192005
71 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
72 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193008K1.08) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe film boiling | 2.6 | T | 193008
76 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395019
77 | (057AA2.03) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RPS panel alarm annunciators and trip | 3.8 | A2 | 395016
78 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395018
79 | (055EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): When battery is approaching a fully discharged state | 3.9 | A2 | 395014
80 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 395006
81 | (011EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): ECCS pump water seal parameters | 3.3 | A2 | 395004
82 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395054
83 | (076AA2.05) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): CVCS letdown flow rate | 3.3 | A2 | 395041
84 | (395025) 000003 (APE 3) Dropped Control Rod (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395025
85 | (BE03EA2.06) Ability to determine and/or interpret the following as they apply to (BW E03) INADEQUATE Subcooling Margin (CFR: 41.10 / 43.5 / 45.13): EFW flow | 4 | A2 | 395052
86 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 400061
87 | (006A2.15) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Vortex/cavitation | 3.5 | A2 | 400006
88 | (400053) 053 (SF1; SF4P ICS*) INTEGRATED CONTROL SYSTEM (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400053
89 | (064A2.07) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overexcitation or underexcitation | 3.5 | A2 | 400064
90 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400003
91 | (076A2.05) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Sensor and detector failure | 3.1 | A2 | 400076
92 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 400061
93 | (059A2.13) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of condensate/heater draining flow | 2.8 | A2 | 400059
94 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G2.4 | G2.4