## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395020
2 | (WE04EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Leakage accumulation in RHR pump area | 3.6 | K1 | 395021
3 | (BE02EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor | 4.7 | K3 | 395001
4 | (011EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Throttling or stopping HPI | 4.1 | A2 | 395004
5 | (065AK2.06) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): Backup air sources for components operated by instrument air | 3.6 | K2 | 395019
6 | (009EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): CCS | 3.5 | A1 | 395003
7 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 395018
8 | (CE05EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.5 / 41.7 / 45.7 to 45.9): Maintaining RCS within postaccident pressure-temperature limits | 4 | K1 | 395012
9 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
10 | (CE06EA2.08) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Feed flow to S/Gs | 4.3 | A2 | 395013
11 | (038EK2.08) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): S/GB system | 3.1 | K2 | 395011
12 | (015AA1.07) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): RCP seal water injection | 3.7 | A1 | 395005
13 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395010
14 | (025AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): RHR pump cavitation | 3.8 | K1 | 395007
15 | (022AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Avoiding plant transients | 3.5 | K3 | 395006
16 | (WE05EA2.14) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): Containment pressure | 3.1 | A2 | 395023
17 | (058AK2.04) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery charger | 3.6 | K2 | 395017
18 | (026AA1.06) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Control of flow rates to components cooled by the CCWS | 3.1 | A1 | 395008
19 | (395046) (W E16) High Containment Radiation (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 395046
20 | (036AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.8 / 41.10 / 45.3): Damage to irradiated fuel in the fuel storage building | 3.7 | K1 | 395031
21 | (037AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Actions contained in EOPs for S/G tube leak | 4 | K3 | 395032
22 | (068AA2.02) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): Local boric acid flow | 2.5 | A2 | 395038
23 | (WE03EK2.09) Knowledge of the relationship between (W E03) LOCA COOLDOWN AND Depressurization and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): SDS | 3.3 | K2 | 395053
24 | (061AA1.07) Ability to operate and/or monitor the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.7 / 45.5 / 45.6): SFPCS | 3.2 | A1 | 395036
25 | (395044) (W E13) Steam Generator Overpressure (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395044
26 | (028AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): PZR reference leg leak abnormalities | 3.5 | K1 | 395028
27 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
28 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 400026
29 | (004K3.09) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): LRS | 2.8 | K3 | 400004
30 | (013K5.22) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.3 to 41.5 / 45.7): Loss of heat sink | 4.2 | K5 | 400013
31 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | A1 | 400007
32 | (061K4.03) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic blowdown/sample isolation | 3.2 | K4 | 400061
33 | (059A3.06) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): MFW isolation | 3.8 | A3 | 400059
34 | (008A2.04) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PRMS alarm | 2.7 | A2 | 400008
35 | (076K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): CWS | 2.7 | K1 | 400076
36 | (064A4.10) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manually shedding (loads) safeguards bus | 3.5 | A4 | 400064
37 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
38 | (010K2.02) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR pressure controller | 3.1 | K2 | 400010
39 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (191008K1.06) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Interpreting a one-line diagram of control circuitry | 3.6 | C | 400062
40 | (003K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.2 | K3 | 400003
41 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
42 | (063A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery charger voltage and/or current | 3.3 | A1 | 400063
43 | (005K4.10) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Control of RHR heat exchanger outlet flow | 3.9 | K4 | 400005
44 | (006A3.01) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Safety injection tanks | 3.7 | A3 | 400006
45 | (039A2.07) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): IAS malfunctions | 3.3 | A2 | 400039
46 | (012K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCPS | 3.8 | K1 | 400012
47 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
48 | (022K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4 | K6 | 400022
49 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
50 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 400004
51 | (013K3.19) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Control room HVAC | 3.5 | K3 | 400013
52 | (007K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Recognition of leaking PORVs/code or safety valves | 4 | K5 | 400007
53 | (061A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): AFW flow and/or motor amperage | 3.8 | A1 | 400061
54 | (059K4.01) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): MFW and startup feedwater valve combination | 3.2 | K4 | 400059
55 | (029A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Containment pressure | 3.3 | K2 | 400029
56 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (191007K1.08) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Demineralizer characteristics that can cause a change in boron concentration | 3.2 | C | 400011
57 | (041K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MT/G | 3.2 | K3 | 400041
58 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
59 | (034A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.5 / 41.6 / 43.7 / 45.5 / 45.8): Fuel handling equipment load limits | 2.8 | A1 | 400034
60 | (055K4.02) Knowledge of (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Effluent control and monitoring | 3.3 | K4 | 400055
61 | (015A3.07) Ability to monitor automatic features of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.7 / 45.5): Permissives | 3.9 | A3 | 400015
62 | (056A2.09) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Feedwater level high or low | 3.3 | A2 | 400056
63 | (028K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CNT | 3.1 | K1 | 400028
64 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Describe the factors affecting the startup rate | 3.3 | R | 192003
71 | (192006K1.14) FISSION PRODUCT POISONS (CFR: 41.1): Explain the methods and reasons for the reactor operator to compensate for the time-dependent behavior of xenon‑135 concentration in the reactor | 3.3 | R | 192006
72 | (192008K1.27) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (NORMAL REACTOR SHUTDOWN) Explain the relationship between decay heat generation and (1) power level history, (2) power production, and (3) time since reactor shutdown | 3.4 | R | 192008
73 | (193008K1.06) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe critical heat flux | 2.9 | T | 193008
74 | (193006K1.13) FLUID STATICS AND DYNAMICS (CFR: 41.14): Explain why flow measurements must be corrected for density changes | 2.6 | T | 193006
75 | (193009K1.06) CORE THERMAL LIMITS (CFR: 41.14): Describe the function of the core protection calculator (thermal margin calculator) | 3.7 | T | 193009
76 | (395014) 000055 (EPE 55) Station Blackout (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 395014
77 | (008AA2.05) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PORV block valve position | 3.9 | A2 | 395002
78 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 395022
79 | (027AA2.13) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Seal return flow | 3.1 | A2 | 395009
80 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 395015
81 | (077AA2.02) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator voltage | 3.4 | A2 | 395020
82 | (395037) 000067 (APE 67) Plant Fire On Site (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 395037
83 | (WE06EA2.14) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): Feed flow to S/Gs | 3.7 | A2 | 395040
84 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 395054
85 | (WE08EA2.06) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): RCP seal flow (supply and/or return) | 3.1 | A2 | 395056
86 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 400008
87 | (076A2.08) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Malfunction of breakers, relays, and disconnects | 3.1 | A2 | 400076
88 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 400064
89 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
90 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 400010
91 | (075A2.04) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of extremes in ambient temperature on cooling tower operation | 2.8 | A2 | 400075
92 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 400002
93 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
94 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4