## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AA1.05) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): ECCS | 4 | A1 | 395002
2 | (CE06EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stop all RCPs | 4.1 | K3 | 395013
3 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
4 | (077AK2.09) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Motors for ESF pumps | 3.6 | K2 | 395020
5 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395005
6 | (065AA2.11) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Instrument airflows | 3.3 | A2 | 395019
7 | (007EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): CRDS | 3.5 | A1 | 395001
8 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
9 | (025AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): RHR gas binding | 3.8 | K1 | 395007
10 | (038EK2.08) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): S/GB system | 3.1 | K2 | 395011
11 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 395008
12 | (027AA2.12) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR level | 3.5 | A2 | 395009
13 | (WE05EA1.20) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): MFW system | 3.9 | A1 | 395023
14 | (WE12EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implementing procedure foldout page actions | 3.8 | K3 | 395012
15 | (022AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Relationship between charging flow and PZR level | 3.6 | K1 | 395006
16 | (055EK2.04) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AFW system | 4.2 | K2 | 395014
17 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395003
18 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.4 | A2 | 395017
19 | (WE09EA1.19) Ability to operate and/or monitor the following as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.5 to 41.8 / 45.5 to 45.8): CVCS | 3.2 | A1 | 395054
20 | (WE13EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identification of effected S/G | 3.8 | K3 | 395044
21 | (028AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Cause for PZR level deviation alarm: controller malfunction or other instrument | 3.6 | K1 | 395028
22 | (059AK2.06) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): LRS | 3.1 | K2 | 395034
23 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 395041
24 | (WE08EA2.03) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Indications of large‑break LOCA | 3.3 | A2 | 395056
25 | (078AA1.06) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Containment or reactor building sump level | 3.6 | A1 | 395042
26 | (WE06EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing instrument air to containment | 3.1 | K3 | 395040
27 | (076K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): CWS | 2.7 | K1 | 400076
28 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 400062
29 | (005A3.02) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): RHRS actuation | 4.2 | A3 | 400005
30 | (007A4.02) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank drain valve | 2.8 | A4 | 400007
31 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
32 | (059K6.20) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW heaters | 2.9 | K6 | 400059
33 | (064A2.28) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FPS actuation | 2.6 | A2 | 400064
34 | (008A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW flow rate | 3.2 | A1 | 400008
35 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
36 | (004K5.52) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Reason for reducing letdown rate when filling PZR; collapse steam bubble | 3 | K5 | 400004
37 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
38 | (003K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCP seal system | 4.3 | K1 | 400003
39 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (191005K1.03) MOTORS AND GENERATORS (CFR: 41.7): Causes of excessive current in motors and generators, such as low voltage, overloading, and mechanical binding | 2.8 | C | 400039
40 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A3 | 400073
41 | (006A4.03) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Transfer from BAT to BIT | 3.4 | A4 | 400006
42 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
43 | (013K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): Trip setpoint calculators | 3.5 | K6 | 400013
44 | (010A2.02) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Spray valve failures | 4.5 | A2 | 400010
45 | (012A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): RPS/ESFAS testing one or more trains in test | 3.7 | A1 | 400012
46 | (078K2.02) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Emergency air compressor | 3.4 | K2 | 400078
47 | (061K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Feedline voiding and water hammer | 3.4 | K5 | 400061
48 | (076K4.06) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Service water train separation | 3.4 | K4 | 400076
49 | (062K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Offsite power | 4.1 | K1 | 400062
50 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 400005
51 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
52 | (026A4.01) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CSS controls | 3.9 | A4 | 400026
53 | (059K3.06) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.8 | K3 | 400059
54 | (064K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): Exciter (overexcitation or underexcitation) | 3.3 | K6 | 400064
55 | (016K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.4 | K1 | 400016
56 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (191003K1.11) CONTROLLERS AND POSITIONERS (CFR: 41.7): Cautions for placing a valve controller in manual mode | 2.9 | C | 400015
57 | (033A2.02) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): SFPCS malfunction | 3.8 | A3 | 400033
58 | (056A4.15) Ability to manually operate and/or monitor the (SF4S CDS) CONDENSATE SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Turbine and feedwater pump turbine exhaust temperature during shutdown | 2.6 | A4 | 400056
59 | (055K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main condenser | 3.8 | K3 | 400055
60 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
61 | (002A2.04) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of heat sinks | 4.5 | A2 | 400002
62 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
63 | (017A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Core exit temperature | 4 | K2 | 400017
64 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
65 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
70 | (192003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Describe the factors affecting the startup rate | 3.3 | R | 192003
71 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193007K1.01) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe three mechanisms of heat transfer | 2.5 | T | 193007
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- cavitation | 3.3 | T | 193006
76 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395018
77 | (029EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Reactor power | 4.1 | A2 | 395010
78 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395004
79 | (056AA2.33) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of bus voltage indication | 3.7 | A2 | 395015
80 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 395022
81 | (008AA2.20) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): The effect of an open PORV or code safety based on observation of plant parameters | 4 | A2 | 395002
82 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 395031
83 | (037AA2.05) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Past history of leakage with current problem | 3 | A2 | 395032
84 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395033
85 | (068AA2.03) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): T-hot, T-cold, and in-core temperatures | 3.9 | A2 | 395038
86 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400008
87 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
88 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400004
89 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.3 | A2 | 400063
90 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 400003
91 | (034K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (CFR: 41.6 / 41.7 / 43.5 / 45.7): Mechanically bound fuel assembly | 3.1 | K6 | 400034
92 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400011
93 | (001A2.15) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Quadrant power tilt outside limits | 3.7 | A2 | 400001
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4