## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395017
2 | (065AK2.10) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.6 | K2 | 395019
3 | (CE02EA1.21) Ability to operate and/or monitor the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.7 / 45.5 / 45.6): Main steam system | 3.6 | A1 | 395001
4 | (055EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): AFW flow | 4.1 | A2 | 395014
5 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
6 | (011EK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying MSIV position | 3.4 | K3 | 395004
7 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395012
8 | (WE04EK2.03) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395021
9 | (056AA1.30) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): AFW flow control valve | 3.8 | A1 | 395015
10 | (009EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): PZR level | 3.5 | A2 | 395003
11 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
12 | (CE06EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Protect the main condenser | 3.4 | K3 | 395013
13 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 395022
14 | (057AK2.06) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): RCS instrumentation | 4 | K2 | 395016
15 | (038EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): Core cooling monitor | 3.3 | A1 | 395011
16 | (062AA2.04) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by SWS | 3 | A2 | 395018
17 | (077AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Underexcitation | 3.3 | K1 | 395020
18 | (025AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating containment | 3.8 | K3 | 395007
19 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395054
20 | (033AK2.03) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): RPS | 3.8 | K2 | 395030
21 | (WE08EA1.04) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): ESFAS | 3.9 | A1 | 395056
22 | (032AA2.10) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Source range level | 3 | A2 | 395029
23 | (037AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.10 / 45.3): Failure to maintain S/G water level within limits (e.g., above S/G tubes) | 3.7 | K1 | 395032
24 | (061AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in alarm response for the ARM system | 3.4 | K3 | 395036
25 | (395042) 000078 (APE 78*) RCS Leak (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395042
26 | (051AK2.13) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): SDS | 3.5 | K2 | 395033
27 | (004K2.06) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Control instrumentation | 3.3 | K2 | 400004
28 | (005K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RCS and containment isolation valves | 3.9 | K6 | 400005
29 | (026A4.04) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote sampling of the NaOH tank and RWST for chemical analysis | 2.5 | A4 | 400026
30 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400062
31 | (073K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): LRS | 3.3 | A3 | 400073
32 | (003K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Starting one or more RCPs under various plant conditions | 3.5 | K5 | 400003
33 | (063K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution system | 4 | K3 | 400063
34 | (006K4.06) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Recirculation of minimum flow through pumps | 3.6 | K4 | 400006
35 | (008K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): CVCS | 3.6 | K1 | 400008
36 | (103A2.04) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions requiring containment evacuation (including recognition of the alarm) | 3.8 | A2 | 400103
37 | (022A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Containment humidity | 3.2 | A1 | 400022
38 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
39 | (078K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Cooling water | 2.8 | K6 | 400078
40 | (076A4.02) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS valves | 3.7 | A4 | 400076
41 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (191007K1.06) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Demineralizer D/P to determine condition of demineralizer resin bed | 2.5 | C | 400007
42 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
43 | (010K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Effects of temperature change during solid operation | 3.9 | K5 | 400010
44 | (013K3.16) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): LRS | 2.9 | K3 | 400013
45 | (059K4.10) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bearing oil signal to the turning gear start sequence | 2.6 | K4 | 400059
46 | (061K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Cooling water for AFW components | 3.4 | K1 | 400061
47 | (064A2.29) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4.3 | A2 | 400064
48 | (004A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Activity levels in primary system | 2.9 | A1 | 400004
49 | (005K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RCS pressure boundary motor‑operated valves | 3.4 | K2 | 400005
50 | (026K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CCS motor-operated valves | 3.6 | K6 | 400026
51 | (062A4.04) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Local operation of breakers | 3.2 | A4 | 400062
52 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400073
53 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
54 | (063K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): System ground | 2.9 | K5 | 400063
55 | (086K2.01) Knowledge of electrical power supplies to the following: (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.7) Fire pumps | 3.2 | K2 | 400086
56 | (034K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (CFR: 41.6 / 41.7 / 43.5 / 45.7): RHRS | 3 | K6 | 400034
57 | (050A4.06) Ability to manually operate and/or monitor the (SF9 CRV) CONTROL ROOM VENTILATION in the control room (CFR: 41.7 / 45.5 to 45.8): Chillers | 3 | A4 | 400050
58 | (400014) 014 (SF1 RPI) ROD POSITION INDICATION SYSTEM (191003K1.07) CONTROLLERS AND POSITIONERS (CFR: 41.7): Safety precautions with respect to the operation of controllers and positioners | 2.6 | C | 400014
59 | (055A3.03) Ability to monitor automatic features of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic diversion of CARS exhaust | 3 | A3 | 400055
60 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
61 | (028K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 2.9 | K3 | 400028
62 | (011K4.03) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Density compensation of PZR level | 3.1 | K4 | 400011
63 | (033K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RMS | 3.1 | K1 | 400033
64 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
65 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (192005K1.09) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- fission product poisons | 2.8 | R | 192005
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192008K1.26) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (NORMAL REACTOR SHUTDOWN) Define decay heat | 3.2 | R | 192008
73 | (193006K1.09) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- gas binding | 2.8 | T | 193006
74 | (193010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State how the possibility of brittle fracture is minimized by operating limitations | 3.7 | T | 193010
75 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
76 | (008AA2.15) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): ECCS status | 3.9 | A2 | 395002
77 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 395006
78 | (WE05EA2.05) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): RCS pressure, temperature, and/or PZR level | 4 | A2 | 395023
79 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395008
80 | (027AA2.08) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Letdown flow indication | 3.4 | A2 | 395009
81 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 395017
82 | (003AA2.08) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): ITM | 3.2 | A2 | 395025
83 | (395045) (W E15) Containment Flooding (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395045
84 | (024AA2.10) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): Normal boron flow | 3.4 | A2 | 395027
85 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 395041
86 | (006A2.01) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): High bearing temperature | 3.1 | A2 | 400006
87 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 400008
88 | (103A2.10) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FHS malfunctions | 2.9 | A2 | 400103
89 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400022
90 | (039A2.05) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Increasing steam demand and its relationship to increases in reactor power | 4 | A2 | 400039
91 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400016
92 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
93 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400041
94 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
95 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
96 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4