## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (062AA1.05) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CCWS | 3.4 | A1 | 395018
2 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
3 | (077AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Underexcitation | 3.3 | K1 | 395020
4 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 395011
5 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
6 | (CE02EA2.10) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): Containment temperature and pressure | 3.8 | A2 | 395001
7 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A1 | 395021
8 | (027AK2.07) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR LCS | 3.6 | K2 | 395009
9 | (008AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Thermodynamics and flow characteristics of open or leaking PZR PORV or safety valves | 4.1 | K1 | 395002
10 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395023
11 | (055EK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs | 4.2 | K3 | 395014
12 | (CE06EA2.05) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): S/G level and pressure | 4 | A2 | 395013
13 | (022AA1.04) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): Speed demand controller and running indicators (positive displacement pump) | 3.5 | A1 | 395006
14 | (015AK2.09) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): RCP flywheel | 3.2 | K2 | 395005
15 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
16 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395019
17 | (025AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating potential leakage paths | 3.6 | K3 | 395007
18 | (026AA2.06) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The length of time after the loss of CCW flow to a component before that component may be damaged | 3.8 | A2 | 395008
19 | (059AA1.03) Ability to operate and/or monitor the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.7 / 45.5 / 45.6): Flow rate controller | 3 | A1 | 395034
20 | (076AK2.01) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): PRMs | 3.5 | K2 | 395041
21 | (051AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser vacuum to circulating water, flow rate, and temperature | 3.3 | K1 | 395033
22 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 395040
23 | (005AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Rod mismatch | 3.7 | K3 | 395026
24 | (WE13EA2.04) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Feedwater isolation | 3.3 | A2 | 395044
25 | (001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.7 / 45.5 / 45.6): Rod in-out-hold switch | 4 | A1 | 395024
26 | (032AK2.03) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): RPS | 3.9 | K2 | 395029
27 | (005A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): CCWS flow rate and temperature | 3.3 | A1 | 400005
28 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
29 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
30 | (010K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.1 | K3 | 400010
31 | (026K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Cooling water | 3.6 | K1 | 400026
32 | (004K5.21) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Parts per million and weight percent for boron | 3 | K5 | 400004
33 | (059K4.18) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic feedwater reduction on plant trip | 3.5 | K4 | 400059
34 | (062A3.07) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Automatic bus transfer | 3.6 | A3 | 400062
35 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 400103
36 | (007A2.05) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Exceeding PRT/quench tank high-pressure limits | 3.9 | A2 | 400007
37 | (022A4.02) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS pumps | 3.6 | A4 | 400022
38 | (003A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCP motor stator winding temperatures | 3.5 | A1 | 400003
39 | (006K6.21) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): RCS | 3.9 | K6 | 400006
40 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
41 | (008K3.08) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): CVCS | 3.5 | K3 | 400008
42 | (039K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): IAS | 3.1 | K1 | 400039
43 | (076K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): SWS intake screen high D/P | 3.1 | K5 | 400076
44 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
45 | (078A3.03) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Air compressor loading/unloading | 2.9 | A3 | 400078
46 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191004K1.22) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) NPSH requirements for a positive displacement pump | 2.8 | C | 400013
47 | (064A2.15) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Water buildup in cylinders | 3.4 | A2 | 400064
48 | (005A4.06) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS and containment isolation valves | 3.8 | A4 | 400005
49 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
50 | (012K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Sensors and detectors | 3.7 | K6 | 400012
51 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
52 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
53 | (004K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): Nitrogen system | 2.5 | K1 | 400004
54 | (059K5.18) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Power level restrictions for operation of MFW pumps and valves | 3.5 | K5 | 400059
55 | (034A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.5 / 41.6 / 43.7 / 45.5 / 45.8): Radiation levels | 3.6 | A1 | 400034
56 | (015K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Scaler timers | 2.8 | K6 | 400015
57 | (028K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.5 / 45.7): Location and interpretation of containment pressure indications | 3.1 | K2 | 400028
58 | (041K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.7 | K3 | 400041
59 | (017K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | K1 | 400017
60 | (002K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.5 / 45.7): Relationship of T-ave. and loop differential temperature to loop hot-leg and cold-leg temperature indications | 3.5 | K5 | 400002
61 | (035K4.02) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G level indication ranges (narrow range and wide range) | 3.8 | K4 | 400035
62 | (086A3.01) Ability to monitor automatic features of the (SF8 FPS) FIRE PROTECTION SYSTEM, including (CFR: 41.7 / 45.5): Starting of fire pumps | 3.3 | A3 | 400086
63 | (400056) 056 (SF4S CDS) CONDENSATE SYSTEM (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 400056
64 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
71 | (192008K1.09) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (CRITICALITY) Define criticality as related to a reactor startup | 3.3 | R | 192008
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (WE11EA2.10) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): S/G level, pressure, and/or feedwater flow | 3.3 | A2 | 395022
77 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 395003
78 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
79 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 395012
80 | (011EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Significance of ECCS pump operation | 4.1 | A2 | 395004
81 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 395018
82 | (069AA2.01) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Loss of containment integrity | 4.1 | A2 | 395039
83 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 395030
84 | (BE09EA2.02) Ability to determine and/or interpret the following as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 4.5 | A2 | 395054
85 | (395042) 000078 (APE 78*) RCS Leak (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 395042
86 | (062A2.21) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of vital AC electrical instrument buses | 4.3 | A2 | 400062
87 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400103
88 | (007A2.01) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): A PORV that is stuck open, or code safety valve | 4.1 | A2 | 400007
89 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 400022
90 | (003A2.06) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCWS malfunction | 3.5 | A2 | 400003
91 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400068
92 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
93 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400071
94 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
95 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4