## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395004
2 | (015AA1.08) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): S/G LCS | 3.3 | A1 | 395005
3 | (027AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Expansion of liquids as temperature increases | 3.2 | K1 | 395009
4 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
5 | (026AK2.06) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Chilled water system | 2.7 | K2 | 395008
6 | (BE05EA2.09) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): S/G pressure | 4.3 | A2 | 395012
7 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395020
8 | (029EA1.21) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): AMSAC | 3.9 | A1 | 395010
9 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
10 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
11 | (062AK2.07) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): EDG system | 4 | K2 | 395018
12 | (CE02EA2.05) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): AC and DC bus voltage | 4 | A2 | 395001
13 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 395003
14 | (038EA1.31) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): ESFAS | 4.1 | A1 | 395011
15 | (022AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Changing from manual to automatic control of charging flow valve controller | 3.3 | K1 | 395006
16 | (CE06EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Evaluate RCP restart criteria | 3 | K3 | 395013
17 | (008AK2.11) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR safeties | 4 | K2 | 395002
18 | (BE04EA2.03) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): SCM | 4 | A2 | 395023
19 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395026
20 | (059AA1.01) Ability to operate and/or monitor the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.7 / 45.5 / 45.6): PRMS | 3.5 | A1 | 395034
21 | (028AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): PZR reference leg leak abnormalities | 3.5 | K1 | 395028
22 | (WE08EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manually transferring high-head SI pump suction source to RWST | 3 | K3 | 395056
23 | (WE16EK2.05) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): ARM system | 3.4 | K2 | 395046
24 | (BE08EA2.15) Ability to determine and/or interpret the following as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.10 / 43.5 / 45.13): SWS | 3.5 | A2 | 395053
25 | (395027) 000024 (APE 24) Emergency Boration (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395027
26 | (WE09EA1.12) Ability to operate and/or monitor the following as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCPS | 3.1 | A1 | 395054
27 | (078K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Air dryers | 3.2 | K6 | 400078
28 | (008K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): SWS | 4 | K1 | 400008
29 | (007A4.03) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): Nitrogen block valve | 2.6 | A4 | 400007
30 | (061A3.03) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW S/G level control | 3.8 | A3 | 400061
31 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | K5 | 400073
32 | (076K2.01) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) SWS pumps (Class 1E) | 3.8 | K2 | 400076
33 | (012K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MT/G | 3.6 | K3 | 400012
34 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
35 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 400006
36 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
37 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
38 | (010K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): AFW | 2.9 | K6 | 400010
39 | (026K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Cooling water | 3.6 | K1 | 400026
40 | (059A4.08) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Feed regulating valve controller | 3.6 | A4 | 400059
41 | (039A3.03) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Atmospheric relief valves | 3.7 | A3 | 400039
42 | (022K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Containment equipment subject to damage by high or low temperature, humidity, and pressure | 3.1 | K5 | 400022
43 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
44 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
45 | (004K4.10) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Minimum temperature requirements on borated systems | 3 | K4 | 400004
46 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191002K1.08) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Effects of operating environment (pressure, temperature, and/or radiation) | 3.1 | C | 400013
47 | (064A2.07) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overexcitation or underexcitation | 3.2 | A2 | 400064
48 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
49 | (008K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Power supply to CCWS pumps and/or valves | 3.7 | K6 | 400008
50 | (007K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): WGS | 2.7 | K1 | 400007
51 | (061A4.02) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW flow | 4.2 | A4 | 400061
52 | (073K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): WGS | 3.2 | A3 | 400073
53 | (076K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Radiation alarms on SWS | 3.1 | K5 | 400076
54 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
55 | (015K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Discriminator/compensation circuits | 3.2 | K6 | 400015
56 | (034K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and the following systems (CFR: 41.2 to 41.7 / 41.9 / 43.6 / 43.7 / 45.7 / 45.8): IAS | 2.8 | K1 | 400034
57 | (086A4.05) Ability to manually operate and/or monitor the (SF8 FPS) FIRE PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Fire suppression actuation valves | 3 | A4 | 400086
58 | (011A3.03) Ability to monitor automatic features of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Charging and letdown | 3.8 | A3 | 400011
59 | (017K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.5 / 45.7): Temperature at which cladding and fuel melt | 3.8 | K5 | 400017
60 | (055A3.02) Ability to monitor automatic features of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Steam to CARS | 2.9 | K2 | 400055
61 | (056K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S CDS) CONDENSATE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW pumps | 3.8 | K3 | 400056
62 | (045K4.12) Knowledge of (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic turbine runback | 3.8 | K4 | 400045
63 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 400041
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
71 | (192003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the prompt critical, prompt jump, and prompt drop | 2.9 | R | 192003
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193008K1.20) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Explain the need for adequate core bypass flow | 2.9 | T | 193008
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (025AA2.19) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Conditions requiring evacuation of personnel from containment | 4.1 | A2 | 395007
77 | (395017) 000058 (APE 58) Loss of DC Power (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395017
78 | (WE11EA2.08) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment sump level | 4 | A2 | 395022
79 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 395016
80 | (055EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Existing valve positioning | 3.6 | A2 | 395014
81 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395004
82 | (076AA2.03) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): High area radiation levels | 3.5 | A2 | 395041
83 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 395039
84 | (001AA2.10) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Lights and alarms | 3.4 | A2 | 395024
85 | (395045) (W E15) Containment Flooding (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 395045
86 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.3 | A2 | 400063
87 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 400006
88 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.7 | A2 | 400005
89 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 400103
90 | (010A2.07) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuations | 4 | A2 | 400010
91 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 400002
92 | (050A2.02) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Extreme environmental conditions (fire, toxic gas, smoke, and radiation) | 3.7 | A2 | 400050
93 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400027
94 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G2.4 | G2.4