## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AK2.06) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.3 | K2 | 395002
2 | (WE04EA1.04) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RCS | 3.8 | A1 | 395021
3 | (CE06EA2.01) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.7 | A2 | 395013
4 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395017
5 | (040AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Containment temperature and pressure considerations | 3.7 | K3 | 395012
6 | (056AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Long‑term core cooling | 4 | K1 | 395015
7 | (022AK2.11) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): RCPS | 3.5 | K2 | 395006
8 | (038EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): S/GB system | 3.1 | A1 | 395011
9 | (027AA2.10) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR heater energized/deenergized condition | 3.8 | A2 | 395009
10 | (395014) 000055 (EPE 55) Station Blackout (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395014
11 | (009EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Containment isolation | 3.8 | K3 | 395003
12 | (025AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): RHR pump cavitation | 3.8 | K1 | 395007
13 | (026AK2.06) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Chilled water system | 2.7 | K2 | 395008
14 | (015AA1.11) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): RCP lights or alarms | 3.4 | A1 | 395005
15 | (011EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): RCS temperature and/or pressure | 4 | A2 | 395004
16 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 395019
17 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
18 | (077AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Overexcitation | 3.3 | K1 | 395020
19 | (WE15EK2.07) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.3 | K2 | 395045
20 | (001AA1.03) Ability to operate and/or monitor the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.7 / 45.5 / 45.6): Boric acid pump control switch | 3.2 | A1 | 395024
21 | (036AA2.02) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Occurrence of a fuel handling incident | 3.3 | A2 | 395031
22 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 395043
23 | (059AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implementation of emergency plan | 3.9 | K3 | 395034
24 | (051AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser and MT/G operation | 3.7 | K1 | 395033
25 | (032AK2.02) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Intermediate/log power detectors | 3.2 | K2 | 395029
26 | (003AA1.11) Ability to operate and/or monitor the following as they apply to (APE 3) DROPPED Control Rod (CFR: 41.7 / 45.5 / 45.6): CVCS | 2.9 | A1 | 395025
27 | (062K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): ESFAS/ESAS | 4.2 | K1 | 400062
28 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G | 400026
29 | (008A2.01) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CCW pump | 4.3 | A2 | 400008
30 | (059A3.06) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): MFW isolation | 3.8 | A3 | 400059
31 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K2 | 400073
32 | (061A4.01) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4.2 | A4 | 400061
33 | (063K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery chargers | 3.9 | K6 | 400063
34 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
35 | (064K4.04) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overload ratings | 3.6 | K4 | 400064
36 | (013A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): RCS temperature | 3.8 | A1 | 400013
37 | (006K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Operation of pumps in parallel | 2.9 | K5 | 400006
38 | (103K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Shield building vent system | 3.3 | K1 | 400103
39 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (191001K1.04) VALVES (CFR: 41.3): The failed-valve positions for different operators (open, closed, and as-is positions; spring‑loaded valves; hydraulic, pneumatically controlled valves; electric motor-driven valves) | 3.2 | C | 400076
40 | (010A2.08) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Safety valves failure to reseat | 4.5 | A2 | 400010
41 | (004A3.11) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Charging and letdown | 3.9 | A3 | 400004
42 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
43 | (078A4.02) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Instrument air compressors | 3.2 | A4 | 400078
44 | (007K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Leakage collection | 2.8 | K6 | 400007
45 | (039K3.05) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 3.9 | K3 | 400039
46 | (012K4.08) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Logic matrix testing | 3.3 | K4 | 400012
47 | (005A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RHR temperature | 3.7 | A1 | 400005
48 | (062K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Keeping the safeguards buses electrically separate | 3.8 | K5 | 400062
49 | (026K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.1 | K1 | 400026
50 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 400008
51 | (059A2.02) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of feedwater heater | 3.1 | A2 | 400059
52 | (073K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): S/GB | 3.4 | A3 | 400073
53 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
54 | (063A4.02) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Load shedding | 3.6 | A4 | 400063
55 | (033K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 3.4 | K1 | 400033
56 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (191002K1.06) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Temperature/pressure compensation requirements | 2.6 | C | 400035
57 | (015A2.05) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Core void formation | 3.2 | A2 | 400015
58 | (045A3.01) Ability to monitor automatic features of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Load control | 3.2 | A3 | 400045
59 | (002K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.5 / 45.7): Relationship between effects of the primary coolant system and the secondary coolant system | 3.7 | K2 | 400002
60 | (017A4.03) Ability to manually operate and/or monitor the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Defeating a degraded in-core thermocouple | 2.7 | A4 | 400017
61 | (071K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): Surge and/or decay tanks | 2.6 | K6 | 400071
62 | (028K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 2.9 | K3 | 400028
63 | (029K4.01) Knowledge of (SF8 CPS) CONTAINMENT PURGE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Use of filters for purging to the atmosphere | 3 | K4 | 400029
64 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
71 | (192004K1.11) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- fuel temperature | 2.9 | R | 192004
72 | (192006K1.14) FISSION PRODUCT POISONS (CFR: 41.1): Explain the methods and reasons for the reactor operator to compensate for the time-dependent behavior of xenon‑135 concentration in the reactor | 3.3 | R | 192006
73 | (193010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the brittle fracture mode of failure | 3.2 | T | 193010
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193008K1.06) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe critical heat flux | 2.9 | T | 193008
76 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395022
77 | (WE05EA2.04) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): S/G pressure and/or level | 4.2 | A2 | 395023
78 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395001
79 | (057AA2.09) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): T-ave. and T-ref. | 3.8 | A2 | 395016
80 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395010
81 | (008AA2.32) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PRT/quench tank level, pressure, and temperature | 3.5 | A2 | 395002
82 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395030
83 | (005AA2.07) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): RPI | 3.7 | A2 | 395026
84 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 395054
85 | (WE14EA2.03) Ability to determine and/or interpret the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.10 / 43.5 / 45.13): Containment pressure | 4 | A2 | 395039
86 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 400003
87 | (064A2.24) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fuel oil storage system failure | 3.7 | A2 | 400064
88 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 400013
89 | (006A2.13) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Inadvertent ECCS actuation | 4 | A2 | 400006
90 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 400103
91 | (016A2.01) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Detector/transmitter failure | 3.4 | A2 | 400016
92 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 400086
93 | (075A2.08) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Ice buildup on intake structure | 3.1 | A2 | 400075
94 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
95 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
96 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4