## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (077AK2.11) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Large electrical system transformers | 3.3 | K2 | 395020
2 | (025AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verification of natural circulation | 3.6 | K3 | 395007
3 | (BE04EA2.07) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): Main steam component positions | 3.3 | A2 | 395023
4 | (027AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Expansion of liquids as temperature increases | 3.2 | K1 | 395009
5 | (395021) (W E04) LOCA Outside Containment (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 395021
6 | (WE11EA1.10) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCS | 3.6 | A1 | 395022
7 | (007EK2.05) Knowledge of the relationship between (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY and the following systems or components (CFR: 41.7 / 45.7): Nuclear instrumentation | 4.1 | K2 | 395001
8 | (054AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reactor and/or turbine trip, manual and automatic | 4.3 | K3 | 395013
9 | (022AA2.07) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): VCT level | 3.8 | A2 | 395006
10 | (038EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Drawing secondary fluid into the RCS, using the “feed and bleed” method | 3.4 | K1 | 395011
11 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 395008
12 | (015AA1.07) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): RCP seal water injection | 3.7 | A1 | 395005
13 | (057AK2.11) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): CVCS instrumentation | 3.6 | K2 | 395016
14 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
15 | (056AA2.81) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): S/G level and pressure | 3.8 | A2 | 395015
16 | (058AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Loss of breaker protection | 3.7 | K1 | 395017
17 | (395014) 000055 (EPE 55) Station Blackout (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 395014
18 | (008AA1.02) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): CVCS system to control PZR level/pressure | 3.6 | A1 | 395002
19 | (076AK2.08) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.4 | K2 | 395041
20 | (WE15EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining the source of the water in the sump | 3.4 | K3 | 395045
21 | (WE08EA2.03) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Indications of large‑break LOCA | 3.3 | A2 | 395056
22 | (078AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.8 / 41.10 / 45.3): Leaking PZR safety valve or PORV | 4.1 | K1 | 395042
23 | (395037) 000067 (APE 67) Plant Fire On Site (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 395037
24 | (WE16EA1.06) Ability to operate and/or monitor the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 to 41.8 / 45.5. to 45.8): ARM system | 3.4 | A1 | 395046
25 | (005AK2.07) Knowledge of the relationship between (APE 5) INOPERABLE/STUCK Control Rod and the following systems or components (CFR: 41.7 / 45.7): NIS | 3.9 | K2 | 395026
26 | (024AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs/AOPs for emergency boration | 4.1 | K3 | 395027
27 | (003K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Starting one or more RCPs under various plant conditions | 3.5 | K5 | 400003
28 | (064A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Diesel engine operating parameters | 3.6 | A1 | 400064
29 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
30 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
31 | (061A3.01) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): AFW system automatic start | 4.2 | A3 | 400061
32 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 400012
33 | (078K4.02) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Crossover to other pneumatic systems | 3.1 | K4 | 400078
34 | (076A2.03) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Pump and/or motor failure | 3.9 | A2 | 400076
35 | (013A4.15) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Upper head injection accumulator isolation | 3.7 | A4 | 400013
36 | (006K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): IAS | 3.1 | K1 | 400006
37 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K2 | 400073
38 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
39 | (010A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Alarms and lights | 3.3 | A1 | 400010
40 | (004K6.39) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): PZR PCS | 3.7 | K6 | 400004
41 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
42 | (008A3.01) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Setpoints for normal operations, warnings, and trips that are applicable to the CCWS | 3.6 | A3 | 400008
43 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (191001K1.11) VALVES (CFR: 41.3): The stroke test for a valve, including the use of a stopwatch | 2.7 | C | 400063
44 | (059K4.07) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Closing MFW pump drains | 2.5 | K4 | 400059
45 | (005A2.02) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Pressure transient protection during cold shutdown | 4 | A2 | 400005
46 | (039A4.01) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MSIVs and bypass valves | 3.9 | A4 | 400039
47 | (062K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Non‑Class 1E DC distribution system | 3.1 | K1 | 400062
48 | (003K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM Containment isolation valves for RCP cooling water | 3.4 | K2 | 400003
49 | (064K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Unloading before securing an EDG | 3.5 | K5 | 400064
50 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | A1 | 400007
51 | (022K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4 | K6 | 400022
52 | (061K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): RCS | 4.3 | K3 | 400061
53 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
54 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 400078
55 | (002K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.5 / 45.7): Relationship between effects of the primary coolant system and the secondary coolant system | 3.7 | K5 | 400002
56 | (086A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FPS) FIRE PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Fire dampers | 3 | A1 | 400086
57 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
58 | (029K3.01) Knowledge of the effect that a loss or malfunction of the (SF8 CPS) CONTAINMENT PURGE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6 / 45.8): CNT | 3.1 | K3 | 400029
59 | (041A3.07) Ability to monitor automatic features of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Load rejection | 3.7 | A3 | 400041
60 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (191001K1.03) VALVES (CFR: 41.3): The relationship of valve position to flow rate and back pressure | 2.9 | C | 400027
61 | (075K4.02) Knowledge of (SF8 CW) CIRCULATING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.4 / 41.7 / 45.8): Interlocks between CWS pumps and system valves | 2.9 | K4 | 400075
62 | (068A2.02) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): Failure to comply with the conditions in release permit | 3.8 | A2 | 400068
63 | (035A4.02) Ability to manually operate and/or monitor the (SF4P SG) STEAM GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Filling S/G | 3.1 | A4 | 400035
64 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
71 | (192006K1.13) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- reactor shutdown | 3 | R | 192006
72 | (192002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1): Evaluate change in SDM due to changes in plant parameters | 3.9 | R | 192002
73 | (193010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State how the possibility of brittle fracture is minimized by operating limitations | 3.7 | T | 193010
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 395010
77 | (065AA2.03) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Location and isolation of leaks | 3.2 | A2 | 395019
78 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 395012
79 | (009EA2.15) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): RCS parameters | 3.8 | A2 | 395003
80 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395004
81 | (077AA2.09) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of EDGs | 3.9 | A2 | 395020
82 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 395029
83 | (061AA2.03) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Alarm conditions | 3.4 | A2 | 395036
84 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 395040
85 | (033AA2.10) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): TS limits if both intermediate range channels have failed | 3.9 | A2 | 395030
86 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G | 400076
87 | (013A2.07) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of IAS | 3.5 | A2 | 400013
88 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 400006
89 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
90 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 400103
91 | (016A2.01) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Detector/transmitter failure | 3.4 | A2 | 400016
92 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 400015
93 | (033A2.01) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Inadequate SDM | 3.6 | A2 | 400033
94 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4